## Substations
id | name | region | voltage
SUB_MAIN | Main Power Station | Central | 400000
SUB_EAST | East Substation | East | 220000
SUB_WEST | West Substation | West | 220000
SUB_NORTH | North Distribution | North | 110000
SUB_SOUTH | South Distribution | South | 110000

## Buses
id | name | substation | baseVoltage | type
BUS_MAIN_400 | Main 400kV Bus | SUB_MAIN | 400000 | SLACK
BUS_EAST_220 | East 220kV Bus | SUB_EAST | 220000 | PV
BUS_WEST_220 | West 220kV Bus | SUB_WEST | 220000 | PQ
BUS_NORTH_110 | North 110kV Bus | SUB_NORTH | 110000 | PQ
BUS_SOUTH_110 | South 110kV Bus | SUB_SOUTH | 110000 | PQ
BUS_EAST_110 | East 110kV Bus | SUB_EAST | 110000 | PQ

## Lines
id | name | from | to | r | x | b | length | ratedCurrent
LINE_MAIN_EAST | 400kV Main-East | BUS_MAIN_400 | BUS_EAST_220 | 0.02 | 0.1 | 0.001 | 100 | 2500
LINE_MAIN_WEST | 400kV Main-West | BUS_MAIN_400 | BUS_WEST_220 | 0.03 | 0.12 | 0.0015 | 120 | 2500
LINE_EAST_WEST | 220kV East-West | BUS_EAST_220 | BUS_WEST_220 | 0.05 | 0.15 | 0.002 | 80 | 1500
LINE_NORTH_SOUTH | 110kV North-South | BUS_NORTH_110 | BUS_SOUTH_110 | 0.1 | 0.25 | 0.003 | 50 | 800

## Transformers
id | name | from | to | r | x | ratedS | ratio
XFMR_EAST | East 220/110kV Transformer | BUS_EAST_220 | BUS_EAST_110 | 0.005 | 0.08 | 300 | 2
XFMR_NORTH | North 220/110kV Transformer | BUS_EAST_220 | BUS_NORTH_110 | 0.005 | 0.08 | 200 | 2
XFMR_SOUTH | South 220/110kV Transformer | BUS_WEST_220 | BUS_SOUTH_110 | 0.005 | 0.08 | 200 | 2

## Generators
id | name | bus | pMin | pMax | qMin | qMax | p | v
GEN_MAIN_1 | Main Generator Unit 1 | BUS_MAIN_400 | 100 | 1000 | -400 | 400 | 800 | 1.03
GEN_MAIN_2 | Main Generator Unit 2 | BUS_MAIN_400 | 100 | 1000 | -400 | 400 | 700 | 1.03
GEN_EAST_WIND | East Wind Farm | BUS_EAST_220 | 0 | 300 | -150 | 150 | 250 | 1
GEN_WEST_SOLAR | West Solar Park | BUS_WEST_220 | 0 | 200 | -100 | 100 | 180 | 1

## Loads
id | name | bus | p | q
LOAD_EAST | East City Load | BUS_EAST_110 | 350 | 120
LOAD_WEST | West City Load | BUS_WEST_220 | 400 | 150
LOAD_NORTH | North Residential | BUS_NORTH_110 | 250 | 80
LOAD_SOUTH | South Industrial | BUS_SOUTH_110 | 450 | 180
LOAD_MAIN | Main Auxiliary Load | BUS_MAIN_400 | 50 | 20

## Voltage Levels
id | name | substation | nominalVoltage | highVoltageLimit | lowVoltageLimit
VL_400_MAIN | 400kV Main | SUB_MAIN | 400000 | 420000 | 380000
VL_220_EAST | 220kV East | SUB_EAST | 220000 | 242000 | 198000
VL_220_WEST | 220kV West | SUB_WEST | 220000 | 242000 | 198000
VL_110_NORTH | 110kV North | SUB_NORTH | 110000 | 121000 | 99000
VL_110_SOUTH | 110kV South | SUB_SOUTH | 110000 | 121000 | 99000
VL_110_EAST | 110kV East | SUB_EAST | 110000 | 121000 | 99000