## Substations
id | name | region | voltage
SUB_CENTRAL | Central Substation | Central | 220000
SUB_NORTH | North Substation | North | 220000
SUB_SOUTH | South Substation | South | 220000

## Buses
id | name | substation | baseVoltage | type
BUS_CENTRAL_220 | Central 220kV Bus | SUB_CENTRAL | 220000 | SLACK
BUS_NORTH_220 | North 220kV Bus | SUB_NORTH | 220000 | PQ
BUS_SOUTH_220 | South 220kV Bus | SUB_SOUTH | 220000 | PQ

## Lines
id | name | from | to | r | x | b | length | ratedCurrent
LINE_CN | Central-North Line | BUS_CENTRAL_220 | BUS_NORTH_220 | 0.05 | 0.15 | 0.002 | 50 | 1500
LINE_CS | Central-South Line | BUS_CENTRAL_220 | BUS_SOUTH_220 | 0.08 | 0.2 | 0.0025 | 75 | 1200
LINE_NS | North-South Line | BUS_NORTH_220 | BUS_SOUTH_220 | 0.06 | 0.18 | 0.003 | 60 | 1300

## Generators
id | name | bus | pMin | pMax | qMin | qMax | p | v
GEN_CENTRAL | Central Generator | BUS_CENTRAL_220 | 0 | 500 | -200 | 200 | 300 | 1.02
GEN_NORTH | North Wind Farm | BUS_NORTH_220 | 0 | 200 | -100 | 100 | 150 | 1

## Loads
id | name | bus | p | q
LOAD_NORTH | North City Load | BUS_NORTH_220 | 200 | 50
LOAD_SOUTH | South Industrial Load | BUS_SOUTH_220 | 250 | 80

## Voltage Levels
id | name | substation | nominalVoltage | highVoltageLimit | lowVoltageLimit
VL_220_CENTRAL | 220kV Central | SUB_CENTRAL | 220000 | 242000 | 198000
VL_220_NORTH | 220kV North | SUB_NORTH | 220000 | 242000 | 198000
VL_220_SOUTH | 220kV South | SUB_SOUTH | 220000 | 242000 | 198000