## Substations
id | name | region | description
SUB_BRAUWEILER | Brauweiler (Amprion Hub) | Köln | Main control center near Cologne
SUB_DORTMUND | Dortmund West | Ruhrgebiet | Ruhr area hub
SUB_DUISBURG | Duisburg Stahlwerk | Ruhrgebiet | Industrial steel zone
SUB_ESSEN | Essen Zentral | Ruhrgebiet | Central Ruhr distribution
SUB_DUSSELDORF | Düsseldorf Nord | Düsseldorf | State capital hub
SUB_KOLN | Köln Süd | Köln | Cologne southern hub
SUB_BONN | Bonn Rheinaue | Bonn | Former capital distribution
SUB_AACHEN | Aachen West | Aachen | Western border interconnection
SUB_MUNSTER | Münster Nord | Münsterland | Northern NRW hub
SUB_BIELEFELD | Bielefeld Ost | OWL | East Westphalia hub
SUB_PADERBORN | Paderborn Wind | OWL | Wind energy collection
SUB_WESEL | Wesel Niederrhein | Niederrhein | Netherlands interconnection
SUB_HAMM | Hamm Ost | Ruhrgebiet | Eastern Ruhr node
SUB_WUPPERTAL | Wuppertal Berg | Bergisches Land | Bergisches Land hub
SUB_NEUSS | Neuss Hafen | Düsseldorf | Industrial port area
SUB_NEURATH | Neurath Kraftwerk | Grevenbroich | Lignite power plant site
SUB_NIEDERAUSSEM | Niederaussem Kraftwerk | Bergheim | Lignite power plant site
SUB_WEISWEILER | Weisweiler Kraftwerk | Eschweiler | Lignite power plant site

## Buses
id | name | voltage | substation | type | v_setpoint
BUS_BRAUWEILER_380 | Brauweiler 380kV | 380 | SUB_BRAUWEILER | SLACK | 1.02
BUS_DORTMUND_380 | Dortmund 380kV | 380 | SUB_DORTMUND | PQ | 1
BUS_WESEL_380 | Wesel 380kV | 380 | SUB_WESEL | PQ | 1
BUS_AACHEN_380 | Aachen 380kV | 380 | SUB_AACHEN | PQ | 1
BUS_DUSSELDORF_220 | Düsseldorf 220kV | 220 | SUB_DUSSELDORF | PV | 1.01
BUS_KOLN_220 | Köln 220kV | 220 | SUB_KOLN | PQ | 1
BUS_ESSEN_220 | Essen 220kV | 220 | SUB_ESSEN | PQ | 1
BUS_DUISBURG_220 | Duisburg 220kV | 220 | SUB_DUISBURG | PQ | 1
BUS_BONN_220 | Bonn 220kV | 220 | SUB_BONN | PQ | 1
BUS_MUNSTER_220 | Münster 220kV | 220 | SUB_MUNSTER | PQ | 1
BUS_BIELEFELD_220 | Bielefeld 220kV | 220 | SUB_BIELEFELD | PQ | 1
BUS_PADERBORN_220 | Paderborn 220kV | 220 | SUB_PADERBORN | PV | 1.01
BUS_HAMM_220 | Hamm 220kV | 220 | SUB_HAMM | PQ | 1
BUS_WUPPERTAL_220 | Wuppertal 220kV | 220 | SUB_WUPPERTAL | PQ | 1
BUS_NEUSS_220 | Neuss 220kV | 220 | SUB_NEUSS | PQ | 1
BUS_DUSSELDORF_110 | Düsseldorf 110kV | 110 | SUB_DUSSELDORF | PQ | 1
BUS_KOLN_110 | Köln 110kV | 110 | SUB_KOLN | PQ | 1
BUS_ESSEN_110 | Essen 110kV | 110 | SUB_ESSEN | PQ | 1
BUS_DORTMUND_110 | Dortmund 110kV | 110 | SUB_DORTMUND | PQ | 1
BUS_DUISBURG_110 | Duisburg 110kV | 110 | SUB_DUISBURG | PQ | 1
BUS_BONN_110 | Bonn 110kV | 110 | SUB_BONN | PQ | 1
BUS_NEURATH_380 | Neurath 380kV | 380 | SUB_NEURATH | PV | 1.03
BUS_NIEDERAUSSEM_380 | Niederaussem 380kV | 380 | SUB_NIEDERAUSSEM | PV | 1.02
BUS_WEISWEILER_220 | Weisweiler 220kV | 220 | SUB_WEISWEILER | PV | 1.02

## Lines
id | name | from | to | r | x | b | length | ratedCurrent
LINE_BRAU_DORT_380 | Brauweiler-Dortmund 380kV | BUS_BRAUWEILER_380 | BUS_DORTMUND_380 | 0.005 | 0.05 | 0.002 | 85 | 3000
LINE_BRAU_WESEL_380 | Brauweiler-Wesel 380kV | BUS_BRAUWEILER_380 | BUS_WESEL_380 | 0.004 | 0.04 | 0.0018 | 70 | 3000
LINE_BRAU_AACHEN_380 | Brauweiler-Aachen 380kV | BUS_BRAUWEILER_380 | BUS_AACHEN_380 | 0.004 | 0.045 | 0.0015 | 65 | 3000
LINE_WESEL_DORT_380 | Wesel-Dortmund 380kV | BUS_WESEL_380 | BUS_DORTMUND_380 | 0.006 | 0.06 | 0.0022 | 95 | 3000
LINE_NEURATH_BRAU_380 | Neurath-Brauweiler 380kV | BUS_NEURATH_380 | BUS_BRAUWEILER_380 | 0.002 | 0.02 | 0.001 | 25 | 4000
LINE_NIEDER_BRAU_380 | Niederaussem-Brauweiler 380kV | BUS_NIEDERAUSSEM_380 | BUS_BRAUWEILER_380 | 0.002 | 0.025 | 0.001 | 30 | 4000
LINE_DUS_KOLN_220 | Düsseldorf-Köln 220kV | BUS_DUSSELDORF_220 | BUS_KOLN_220 | 0.01 | 0.08 | 0.003 | 45 | 2000
LINE_DUS_ESSEN_220 | Düsseldorf-Essen 220kV | BUS_DUSSELDORF_220 | BUS_ESSEN_220 | 0.008 | 0.07 | 0.0025 | 35 | 2000
LINE_ESSEN_DUIS_220 | Essen-Duisburg 220kV | BUS_ESSEN_220 | BUS_DUISBURG_220 | 0.005 | 0.04 | 0.0015 | 20 | 2000
LINE_KOLN_BONN_220 | Köln-Bonn 220kV | BUS_KOLN_220 | BUS_BONN_220 | 0.007 | 0.06 | 0.002 | 30 | 2000
LINE_ESSEN_HAMM_220 | Essen-Hamm 220kV | BUS_ESSEN_220 | BUS_HAMM_220 | 0.012 | 0.1 | 0.0035 | 55 | 2000
LINE_HAMM_BIEL_220 | Hamm-Bielefeld 220kV | BUS_HAMM_220 | BUS_BIELEFELD_220 | 0.015 | 0.12 | 0.004 | 70 | 2000
LINE_BIEL_PADER_220 | Bielefeld-Paderborn 220kV | BUS_BIELEFELD_220 | BUS_PADERBORN_220 | 0.01 | 0.08 | 0.003 | 45 | 2000
LINE_MUNSTER_HAMM_220 | Münster-Hamm 220kV | BUS_MUNSTER_220 | BUS_HAMM_220 | 0.008 | 0.07 | 0.0025 | 40 | 2000
LINE_DUS_WUPP_220 | Düsseldorf-Wuppertal 220kV | BUS_DUSSELDORF_220 | BUS_WUPPERTAL_220 | 0.007 | 0.06 | 0.002 | 30 | 2000
LINE_DUS_NEUSS_220 | Düsseldorf-Neuss 220kV | BUS_DUSSELDORF_220 | BUS_NEUSS_220 | 0.003 | 0.025 | 0.001 | 10 | 2000
LINE_WEIS_KOLN_220 | Weisweiler-Köln 220kV | BUS_WEISWEILER_220 | BUS_KOLN_220 | 0.012 | 0.1 | 0.0035 | 60 | 2500

## Transformers
id | name | hv_bus | lv_bus | rated_s | r | x | ratio
TRAFO_BRAU_380_220 | Brauweiler 380/220kV | BUS_BRAUWEILER_380 | BUS_DUSSELDORF_220 | 800 | 0.002 | 0.1 | 1.73
TRAFO_DORT_380_220 | Dortmund 380/220kV | BUS_DORTMUND_380 | BUS_ESSEN_220 | 600 | 0.002 | 0.1 | 1.73
TRAFO_WESEL_380_220 | Wesel 380/220kV | BUS_WESEL_380 | BUS_DUISBURG_220 | 500 | 0.002 | 0.1 | 1.73
TRAFO_DUS_220_110 | Düsseldorf 220/110kV | BUS_DUSSELDORF_220 | BUS_DUSSELDORF_110 | 300 | 0.003 | 0.08 | 2
TRAFO_KOLN_220_110 | Köln 220/110kV | BUS_KOLN_220 | BUS_KOLN_110 | 350 | 0.003 | 0.08 | 2
TRAFO_ESSEN_220_110 | Essen 220/110kV | BUS_ESSEN_220 | BUS_ESSEN_110 | 300 | 0.003 | 0.08 | 2
TRAFO_DUIS_220_110 | Duisburg 220/110kV | BUS_DUISBURG_220 | BUS_DUISBURG_110 | 400 | 0.003 | 0.08 | 2
TRAFO_BONN_220_110 | Bonn 220/110kV | BUS_BONN_220 | BUS_BONN_110 | 200 | 0.003 | 0.08 | 2

## Generators
id | name | bus | p | pMin | pMax | qMin | qMax | v | fuel
GEN_NEURATH_1 | Neurath Block F | BUS_NEURATH_380 | 1100 | 400 | 1100 | -400 | 500 | 1.03 | Lignite
GEN_NEURATH_2 | Neurath Block G | BUS_NEURATH_380 | 1100 | 400 | 1100 | -400 | 500 | 1.03 | Lignite
GEN_NIEDERAUSSEM | Niederaussem K | BUS_NIEDERAUSSEM_380 | 1000 | 350 | 1000 | -350 | 450 | 1.02 | Lignite
GEN_WEISWEILER | Weisweiler Thermal | BUS_WEISWEILER_220 | 600 | 200 | 600 | -200 | 300 | 1.02 | Lignite
GEN_WIND_PADERBORN | Paderborn Wind Cluster | BUS_PADERBORN_220 | 450 | 0 | 600 | -100 | 100 | 1.01 | Wind
GEN_WIND_MUNSTER | Münsterland Wind Park | BUS_MUNSTER_220 | 280 | 0 | 400 | -80 | 80 | 1 | Wind
GEN_WIND_BIELEFELD | OWL Wind Farm | BUS_BIELEFELD_220 | 200 | 0 | 300 | -60 | 60 | 1 | Wind
GEN_SOLAR_KOLN | Köln Solar Park | BUS_KOLN_220 | 120 | 0 | 200 | -40 | 40 | 1 | Solar
GEN_SOLAR_BONN | Bonn PV Cluster | BUS_BONN_220 | 80 | 0 | 150 | -30 | 30 | 1 | Solar
GEN_GAS_DUSSELDORF | Düsseldorf CCGT | BUS_DUSSELDORF_220 | 400 | 100 | 500 | -150 | 200 | 1.01 | Natural Gas
GEN_GAS_ESSEN | Essen Gas Turbine | BUS_ESSEN_220 | 300 | 80 | 400 | -120 | 150 | 1 | Natural Gas

## Loads
id | name | bus | p | q | category
LOAD_DUSSELDORF | Düsseldorf City Load | BUS_DUSSELDORF_110 | 650 | 200 | City
LOAD_KOLN | Köln City Load | BUS_KOLN_110 | 850 | 280 | City
LOAD_ESSEN | Essen City Load | BUS_ESSEN_110 | 480 | 150 | City
LOAD_DORTMUND | Dortmund City Load | BUS_DORTMUND_110 | 520 | 170 | City
LOAD_BONN | Bonn City Load | BUS_BONN_110 | 280 | 90 | City
LOAD_DUISBURG_STEEL | Duisburg Stahlwerk | BUS_DUISBURG_220 | 800 | 350 | Industrial
LOAD_NEUSS_INDUSTRY | Neuss Industrial Zone | BUS_NEUSS_220 | 400 | 150 | Industrial
LOAD_HAMM_INDUSTRY | Hamm Industrial | BUS_HAMM_220 | 250 | 80 | Industrial
LOAD_MUNSTER | Münster Region | BUS_MUNSTER_220 | 320 | 100 | Regional
LOAD_BIELEFELD | Bielefeld Region | BUS_BIELEFELD_220 | 350 | 110 | Regional
LOAD_WUPPERTAL | Wuppertal City | BUS_WUPPERTAL_220 | 300 | 95 | Regional
LOAD_PADERBORN | Paderborn Region | BUS_PADERBORN_220 | 180 | 55 | Regional
LOAD_DUISBURG_CITY | Duisburg City Load | BUS_DUISBURG_110 | 350 | 110 | City

## Voltage Levels
id | name | voltage | description
VL_380 | 380kV Extra High Voltage | 380 | Transport level
VL_220 | 220kV High Voltage | 220 | Sub-transmission level
VL_110 | 110kV High Voltage | 110 | Distribution level