## Substations
id | name | region | voltage
SUB_CENTRAL | Central Station | Central | 400000
SUB_NORTH | North Substation | North | 220000
SUB_SOUTH | South Substation | South | 220000
SUB_EAST | East Distribution | East | 110000
SUB_WEST | West Distribution | West | 110000

## Buses
id | name | substation | baseVoltage | type
BUS_CENTRAL_400 | Central 400kV | SUB_CENTRAL | 400000 | SLACK
BUS_NORTH_220 | North 220kV | SUB_NORTH | 220000 | PV
BUS_SOUTH_220 | South 220kV | SUB_SOUTH | 220000 | PV
BUS_EAST_110 | East 110kV | SUB_EAST | 110000 | PQ
BUS_WEST_110 | West 110kV | SUB_WEST | 110000 | PQ
BUS_NORTH_110 | North 110kV | SUB_NORTH | 110000 | PQ
BUS_SOUTH_110 | South 110kV | SUB_SOUTH | 110000 | PQ
BUS_CENTRAL_220 | Central 220kV | SUB_CENTRAL | 220000 | PQ

## Lines
id | name | from | to | r | x | b | length | ratedCurrent
LINE_CENTRAL_NORTH | Central-North 400kV | BUS_CENTRAL_400 | BUS_NORTH_220 | 0.02 | 0.1 | 0.001 | 100 | 2500
LINE_CENTRAL_SOUTH | Central-South 400kV | BUS_CENTRAL_400 | BUS_SOUTH_220 | 0.025 | 0.12 | 0.0012 | 120 | 2500
LINE_NORTH_SOUTH | North-South 220kV | BUS_NORTH_220 | BUS_SOUTH_220 | 0.05 | 0.15 | 0.002 | 80 | 1500
LINE_EAST_WEST | East-West 110kV | BUS_EAST_110 | BUS_WEST_110 | 0.1 | 0.25 | 0.003 | 50 | 800

## Transformers
id | name | from | to | r | x | ratedS | ratio
XFMR_NORTH | North 220/110kV | BUS_NORTH_220 | BUS_NORTH_110 | 0.005 | 0.08 | 200 | 2
XFMR_SOUTH | South 220/110kV | BUS_SOUTH_220 | BUS_SOUTH_110 | 0.005 | 0.08 | 200 | 2
XFMR_CENTRAL | Central 400/220kV | BUS_CENTRAL_400 | BUS_CENTRAL_220 | 0.003 | 0.06 | 500 | 1.82

## Generators
id | name | bus | pMin | pMax | qMin | qMax | p | v
GEN_CENTRAL_1 | Central Gen 1 | BUS_CENTRAL_400 | 200 | 1000 | -400 | 400 | 800 | 1.03
GEN_CENTRAL_2 | Central Gen 2 | BUS_CENTRAL_400 | 200 | 1000 | -400 | 400 | 700 | 1.03
GEN_NORTH | North Wind | BUS_NORTH_220 | 0 | 300 | -150 | 150 | 250 | 1
GEN_SOUTH | South Solar | BUS_SOUTH_220 | 0 | 200 | -100 | 100 | 180 | 1

## Loads
id | name | bus | p | q
LOAD_EAST | East City | BUS_EAST_110 | 350 | 120
LOAD_WEST | West City | BUS_WEST_110 | 400 | 150
LOAD_NORTH | North Residential | BUS_NORTH_110 | 250 | 80
LOAD_SOUTH | South Industrial | BUS_SOUTH_110 | 450 | 180
LOAD_CENTRAL | Central Load | BUS_CENTRAL_220 | 200 | 70

## Voltage Levels
id | name | substation | nominalVoltage | highVoltageLimit | lowVoltageLimit
VL_400_CENTRAL | 400kV Central | SUB_CENTRAL | 400000 | 420000 | 380000
VL_220_NORTH | 220kV North | SUB_NORTH | 220000 | 242000 | 198000
VL_220_SOUTH | 220kV South | SUB_SOUTH | 220000 | 242000 | 198000
VL_110_EAST | 110kV East | SUB_EAST | 110000 | 121000 | 99000
VL_110_WEST | 110kV West | SUB_WEST | 110000 | 121000 | 99000