## Substations
id | name | region | voltage
SUB_A | Substation A | Region A | 220000
SUB_B | Substation B | Region B | 220000

## Buses
id | name | substation | baseVoltage | type
BUS_A_220 | Bus A 220kV | SUB_A | 220000 | SLACK
BUS_B_220 | Bus B 220kV | SUB_B | 220000 | PQ

## Lines
id | name | from | to | r | x | b | length | ratedCurrent
LINE_AB | Line A-B | BUS_A_220 | BUS_B_220 | 0.05 | 0.15 | 0.002 | 50 | 1500

## Generators
id | name | bus | pMin | pMax | qMin | qMax | p | v
GEN_A | Generator A | BUS_A_220 | 0 | 500 | -200 | 200 | 300 | 1.02

## Loads
id | name | bus | p | q
LOAD_B | Load B | BUS_B_220 | 280 | 80

## Voltage Levels
id | name | substation | nominalVoltage | highVoltageLimit | lowVoltageLimit
VL_220_A | 220kV A | SUB_A | 220000 | 242000 | 198000
VL_220_B | 220kV B | SUB_B | 220000 | 242000 | 198000