## Info
CIM Network – Subnetwork 3 (from Prof)
Buses: 272 ¦ Lines: 274 ¦ Consumers: 136 ¦ Transformers: 1
Converted from PyPSA/pandapower format for CIM-SemanticGraph-Platform

## Buses
id | name | voltage (kV) | type | x | y
fpU3xo56pLY | fpU3xo56pLY | 0.4 | consumer | 1999.566 | 1998.335
6TgiOGmgyaU | 6TgiOGmgyaU | 0.4 | consumer | 2000.155 | 2001.964
ZTzdoentrP4 | ZTzdoentrP4 | 0.4 | consumer | 2000.382 | 2002.825
LG64hXgv5lg | LG64hXgv5lg | 0.4 | consumer | 2002.154 | 1997.539
bECmxftSScg | bECmxftSScg | 0.4 | consumer | 2001.95 | 1997.824
bOLjar4-rdE | bOLjar4-rdE | 0.4 | consumer | 2002.29 | 1997.309
ZRmUMvDCYRs | ZRmUMvDCYRs | 0.4 | consumer | 1999.374 | 2000.066
LRtBqI7PxXQ | LRtBqI7PxXQ | 0.4 | consumer | 1999.484 | 2000.059
pvgKcjvQSqA | pvgKcjvQSqA | 0.4 | consumer | 1999.712 | 2002.176
t7Jc7O9hzPo | t7Jc7O9hzPo | 0.4 | consumer | 1999.825 | 2001.864
EMwxKLwMHUo | EMwxKLwMHUo | 0.4 | consumer | 2000.02 | 2002.168
uWKxC9qi69A | uWKxC9qi69A | 0.4 | consumer | 2000.395 | 2002.076
Xg9QOTVw4uM | Xg9QOTVw4uM | 0.4 | consumer | 2000.443 | 2001.805
Bc-OPVxgbgs | Bc-OPVxgbgs | 0.4 | consumer | 2000.509 | 2001.777
CypxRLvdw1w | CypxRLvdw1w | 0.4 | consumer | 1999.392 | 2002.058
zLf9KyXV3DA | zLf9KyXV3DA | 0.4 | consumer | 1999.73 | 2002.01
ikytkfz7_uU | ikytkfz7_uU | 0.4 | consumer | 1999.6 | 1999.911
yBZtHxeVgNw | yBZtHxeVgNw | 0.4 | consumer | 2002.927 | 2002.418
4-grmuhvlAI | 4-grmuhvlAI | 0.4 | consumer | 2001.049 | 2001.947
kW0KJNzlAdY | kW0KJNzlAdY | 0.4 | consumer | 1999.826 | 1998.913
4IzVzmLsKk8 | 4IzVzmLsKk8 | 0.4 | consumer | 1998.77 | 2000.288
Zgc_7JmGhrI | Zgc_7JmGhrI | 0.4 | consumer | 1999.624 | 2001.979
RxCdo7O9-j4 | RxCdo7O9-j4 | 0.4 | consumer | 2000.176 | 1998.816
kHHAjacyOIE | kHHAjacyOIE | 0.4 | consumer | 1999.67 | 1999.842
IsPpqJwUS0E | IsPpqJwUS0E | 0.4 | consumer | 2001.713 | 2002.424
QdnX_AqltVc | QdnX_AqltVc | 0.4 | consumer | 2000.227 | 2000.309
EHQDxLar9NE | EHQDxLar9NE | 0.4 | consumer | 2000.493 | 2000.618
3xR9l8Z3zD0 | 3xR9l8Z3zD0 | 0.4 | consumer | 2002.801 | 2001.874
AqGaT8luvTU | AqGaT8luvTU | 0.4 | consumer | 2000.41 | 1998.655
GTxJxT5sKQw | GTxJxT5sKQw | 0.4 | consumer | 1999.13 | 1997.194
8JgMQ9KVYA4 | 8JgMQ9KVYA4 | 0.4 | consumer | 2000.254 | 1999.728
8LrpoU8PVcM | 8LrpoU8PVcM | 0.4 | consumer | 1998.439 | 1994.833
bNmGSl0nm4A | bNmGSl0nm4A | 0.4 | consumer | 2000.662 | 2001.562
S7QggeRBKpg | S7QggeRBKpg | 0.4 | consumer | 1999.001 | 2000.867
L5WCtduloGU | L5WCtduloGU | 0.4 | consumer | 1999.45 | 2001.9
Fm_2A0VAIDk | Fm_2A0VAIDk | 0.4 | consumer | 1998.955 | 2000.786
3GRnOI2vpcw | 3GRnOI2vpcw | 0.4 | consumer | 2000.499 | 2001.49
fkyqKCTpCaY | fkyqKCTpCaY | 0.4 | consumer | 1999.068 | 2001.104
cvhxEBc8Cyo | cvhxEBc8Cyo | 0.4 | consumer | 1998.975 | 1997.002
Byz6Qw1la1Y | Byz6Qw1la1Y | 0.4 | consumer | 1998.878 | 1996.244
B1rNTfB3N4E | B1rNTfB3N4E | 0.4 | consumer | 2000.544 | 2001.253
sxmB1IXUDDw | sxmB1IXUDDw | 0.4 | consumer | 2000.294 | 2002.292
Uu_Aa5jdvXQ | Uu_Aa5jdvXQ | 0.4 | consumer | 1998.577 | 1995.245
BXLUFTAcLaI | BXLUFTAcLaI | 0.4 | consumer | 1998.693 | 1995.68
TgfcfTcP2Yc | TgfcfTcP2Yc | 0.4 | consumer | 1999.046 | 2001.025
iOE2ZXTSohc | iOE2ZXTSohc | 0.4 | consumer | 1999.808 | 1998.159
9fPVi-W_UZo | 9fPVi-W_UZo | 0.4 | consumer | 2000.271 | 1998.26
KZmKi-fJNtI | KZmKi-fJNtI | 0.4 | consumer | 2001.574 | 1997.463
Db_Rl0JoC2w | Db_Rl0JoC2w | 0.4 | consumer | 1999.023 | 1997.013
jsgOoXY5W-Q | jsgOoXY5W-Q | 0.4 | consumer | 1998.931 | 1996.646
I0l-_w8LGNg | I0l-_w8LGNg | 0.4 | consumer | 2001.388 | 2002.008
OoK8bLm6AxU | OoK8bLm6AxU | 0.4 | consumer | 2000.388 | 2001.086
dBFV2XlYh6I | dBFV2XlYh6I | 0.4 | consumer | 2000.547 | 1998.204
05kOHC6xwUc | 05kOHC6xwUc | 0.4 | consumer | 1998.887 | 2000.56
lf9PAC1Ib5M | lf9PAC1Ib5M | 0.4 | consumer | 1999.355 | 1997.918
RxL-yIKOvFg | RxL-yIKOvFg | 0.4 | consumer | 1999.278 | 2001.718
hRsBYpZQ9zA | hRsBYpZQ9zA | 0.4 | consumer | 1999.815 | 1998.175
WOGNu6hLA7g | WOGNu6hLA7g | 0.4 | consumer | 1999.975 | 1998.617
QaQ7r72tX_Y | QaQ7r72tX_Y | 0.4 | consumer | 2000.181 | 1999.384
lS3LTC5Vtys | lS3LTC5Vtys | 0.4 | consumer | 1998.639 | 2001.351
AYIM1KkyFD8 | AYIM1KkyFD8 | 0.4 | consumer | 1998.528 | 1995.118
_834p9vcqEA | _834p9vcqEA | 0.4 | consumer | 2001.207 | 2002.004
NNcEzQUs9do | NNcEzQUs9do | 0.4 | consumer | 1998.954 | 2000.1
PzFlTdsUwV0 | PzFlTdsUwV0 | 0.4 | consumer | 1998.348 | 1994.104
iOrIZUsoobw | iOrIZUsoobw | 0.4 | consumer | 1999.145 | 1996.229
c1YV2RXH7p4 | c1YV2RXH7p4 | 0.4 | consumer | 1999.771 | 1999.75
ApyJZuuwkys | ApyJZuuwkys | 0.4 | consumer | 2000.253 | 2000.485
CI_IqAGJ6jM | CI_IqAGJ6jM | 0.4 | consumer | 2000.909 | 2001.82
74fGfJKIDRA | 74fGfJKIDRA | 0.4 | consumer | 2001.604 | 1998.397
9HvNu8NLg9A | 9HvNu8NLg9A | 0.4 | consumer | 2001.69 | 2002.03
aH5Qaj60xzI | aH5Qaj60xzI | 0.4 | consumer | 1999 | 2001.534
h_v8TggaORY | h_v8TggaORY | 0.4 | consumer | 2001.977 | 1996.697
-EfGF7lFC3M | -EfGF7lFC3M | 0.4 | consumer | 2000.089 | 1999.11
n7oqWcztBNA | n7oqWcztBNA | 0.4 | consumer | 1999.779 | 1999.468
ageSN5ZZh1I | ageSN5ZZh1I | 0.4 | consumer | 1998.66 | 2001.076
APr7EYlq9R4 | APr7EYlq9R4 | 0.4 | consumer | 1999.256 | 1996.702
rq8PJuQ02iU | rq8PJuQ02iU | 0.4 | consumer | 2000.503 | 2001.077
KHTkMTp0tSs | KHTkMTp0tSs | 0.4 | consumer | 2001.923 | 2002.431
pL56mqIiJJA | pL56mqIiJJA | 0.4 | consumer | 1999.101 | 2001.323
kgL4v7ncwGU | kgL4v7ncwGU | 0.4 | consumer | 1999.907 | 1999.63
zaL3dDRAIZo | zaL3dDRAIZo | 0.4 | consumer | 1999.66 | 1999.637
bQjMsB5kkwg | bQjMsB5kkwg | 0.4 | consumer | 2001.481 | 2002.032
Rp2vX5tEvpo | Rp2vX5tEvpo | 0.4 | consumer | 2002.33 | 1996.491
GDMXBkqA0hc | GDMXBkqA0hc | 0.4 | consumer | 2001.798 | 1996.978
zeDi97cQ9JQ | zeDi97cQ9JQ | 0.4 | consumer | 1998.886 | 1996.458
g2Hf8pQBHyk | g2Hf8pQBHyk | 0.4 | consumer | 2001.109 | 1997.907
V5_4zssAx3U | V5_4zssAx3U | 0.4 | consumer | 2000.464 | 2000.268
Q9HzEfCPVb4 | Q9HzEfCPVb4 | 0.4 | consumer | 2002.385 | 1996.019
vSOqPJfs1K0 | vSOqPJfs1K0 | 0.4 | consumer | 1999.771 | 1998.724
M48BssJ9t2U | M48BssJ9t2U | 0.4 | consumer | 1999.138 | 1995.927
nwi1y6CBX7U | nwi1y6CBX7U | 0.4 | consumer | 2001.352 | 2002.38
bP478EggXHw | bP478EggXHw | 0.4 | consumer | 2000.328 | 2001.898
n6aX9myG5ss | n6aX9myG5ss | 0.4 | consumer | 1999.105 | 2001.266
YySBTja51wA | YySBTja51wA | 0.4 | consumer | 2001.724 | 1998.409
2b70US5bDTw | 2b70US5bDTw | 0.4 | consumer | 1998.618 | 2000.357
eagV_a5gnRQ | eagV_a5gnRQ | 0.4 | consumer | 1999.144 | 2001.808
1Xe1e0f0rQ8 | 1Xe1e0f0rQ8 | 0.4 | consumer | 1999.086 | 2001.67
8C2Hm4i32dk | 8C2Hm4i32dk | 0.4 | consumer | 2001.029 | 2002.209
oTgVNgtIfLE | oTgVNgtIfLE | 0.4 | consumer | 1998.781 | 1996.016
YOoC0Ixfx_Q | YOoC0Ixfx_Q | 0.4 | consumer | 1999.231 | 2000.189
aJgqt4i84OY | aJgqt4i84OY | 0.4 | consumer | 2000.188 | 2001.965
5E0oF61Oh0o | 5E0oF61Oh0o | 0.4 | consumer | 2002.46 | 2001.936
6xXGsO0xc0E | 6xXGsO0xc0E | 0.4 | consumer | 2001.667 | 1997.972
ymqR3lBly8I | ymqR3lBly8I | 0.4 | consumer | 1999.199 | 2001.601
57LxQhO4zHY | 57LxQhO4zHY | 0.4 | consumer | 2000.621 | 2001.471
9JF59jUT1ek | 9JF59jUT1ek | 0.4 | consumer | 2001.808 | 1997.865
RbB6JQ9kFpI | RbB6JQ9kFpI | 0.4 | consumer | 2002.182 | 2002.032
7QwtvWWQTis | 7QwtvWWQTis | 0.4 | consumer | 1999.963 | 2001.993
FIMITqTYHrU | FIMITqTYHrU | 0.4 | consumer | 2002.546 | 2001.889
7CJAOEkuLTs | 7CJAOEkuLTs | 0.4 | consumer | 2001.588 | 2002.415
CtKzPizsojA | CtKzPizsojA | 0.4 | consumer | 2000.456 | 2000.891
mUTGYDL70ek | mUTGYDL70ek | 0.4 | consumer | 2000.899 | 1998.049
9pZtnDU9Eto | 9pZtnDU9Eto | 0.4 | consumer | 2000.378 | 1998.276
ostMDcHbbdg | ostMDcHbbdg | 0.4 | consumer | 2001.032 | 1997.986
0uL9K8CvOxQ | 0uL9K8CvOxQ | 0.4 | consumer | 2002.199 | 1996.626
60AOYJMm748 | 60AOYJMm748 | 0.4 | consumer | 1999.744 | 1997.966
HD1_vSaUeu4 | HD1_vSaUeu4 | 0.4 | consumer | 1999.279 | 1999.913
9xMMJ6tb87U | 9xMMJ6tb87U | 0.4 | consumer | 2001.059 | 2001.95
m5kNQp91u00 | m5kNQp91u00 | 0.4 | consumer | 2000.135 | 1999.838
rUz0Zbyz5GE | rUz0Zbyz5GE | 0.4 | consumer | 1999.213 | 1997.5
0hEUndv9i6I | 0hEUndv9i6I | 0.4 | consumer | 1999.562 | 1998.339
czZHnccsfSs | czZHnccsfSs | 0.4 | consumer | 2000.154 | 1999.343
qygDje-mi2g | qygDje-mi2g | 0.4 | consumer | 1999.844 | 1999.458
zV4a_GzZBqw | zV4a_GzZBqw | 0.4 | consumer | 2000.346 | 2000.819
BcWMtXLwWNk | BcWMtXLwWNk | 0.4 | consumer | 2002.069 | 2002.528
ITQLAWFTdpE | ITQLAWFTdpE | 0.4 | consumer | 1999.267 | 1997.658
ewxN-kXwEts | ewxN-kXwEts | 0.4 | consumer | 1999.497 | 1997.46
k2d20yqjbRs | k2d20yqjbRs | 0.4 | consumer | 1999.258 | 1999.266
KZ6Q2VTlgQc | KZ6Q2VTlgQc | 0.4 | consumer | 2002.638 | 2001.857
8D6n4q1ieyY | 8D6n4q1ieyY | 0.4 | consumer | 1999.307 | 2002.093
dHuOfO5H1lU | dHuOfO5H1lU | 0.4 | consumer | 1999.139 | 2000.277
QoRZ_lWXIQU | QoRZ_lWXIQU | 0.4 | consumer | 1999.35 | 2000.185
_7vAUPHF0oc | _7vAUPHF0oc | 0.4 | consumer | 1999.029 | 2001.608
P7nzFHhCN3A | P7nzFHhCN3A | 0.4 | consumer | 1999.177 | 1997.342
6kfx20GRtxU | 6kfx20GRtxU | 0.4 | consumer | 1999.075 | 1998.234
w7fdVqGiL-Q | w7fdVqGiL-Q | 0.4 | consumer | 2000.327 | 2000.679
-e0O9afkPeY | -e0O9afkPeY | 0.4 | consumer | 2000.725 | 1998.057
LzK20wUew8o | LzK20wUew8o | 0.4 | consumer | 1999.321 | 1997.796
uOY2eJrsPzI | uOY2eJrsPzI | 0.4 | cds | 1998.786 | 2000.618
wrAgmWPaYF0 | wrAgmWPaYF0 | 0.4 | cds | 2000.035 | 1999.544
Gd6Tj_hiLdU | Gd6Tj_hiLdU | 0.4 | cds | 1998.512 | 1994.537
4hbFKd_qx7Y | 4hbFKd_qx7Y | 0.4 | transformer | 2000.903 | 2001.067
sahhq0J42-8 | sahhq0J42-8 | 0.4 | cds | 1999.993 | 1998.875
f2IV6FMehvA | f2IV6FMehvA | 0.4 | cds | 1999.384 | 2002.037
yp2bBVY2l1Q | yp2bBVY2l1Q | 0.4 | sleeve | 2000.78 | 2002.003
Fr4UM75SkwA | Fr4UM75SkwA | 0.4 | sleeve | 1998.86 | 1995.872
4UHGIiCPZ0c | 4UHGIiCPZ0c | 0.4 | sleeve | 2000.47 | 2001.906
NT55EwnNask | NT55EwnNask | 0.4 | sleeve | 2001.476 | 2002.13
1OFqwY6o3tQ | 1OFqwY6o3tQ | 0.4 | sleeve | 1999.725 | 2002.035
PdMtkwfGZvw | PdMtkwfGZvw | 0.4 | sleeve | 2000.491 | 2001.387
dxK0XYlerY4 | dxK0XYlerY4 | 0.4 | sleeve | 2002.382 | 1996.595
SuaeUCqQqB0 | SuaeUCqQqB0 | 0.4 | sleeve | 2000.488 | 2001.378
VFWVYsTXTLc | VFWVYsTXTLc | 0.4 | sleeve | 1998.863 | 1995.888
ft0tzNDPKZ4 | ft0tzNDPKZ4 | 0.4 | sleeve | 1999.216 | 2000.152
s2qUnyvIrZ8 | s2qUnyvIrZ8 | 0.4 | sleeve | 1999.024 | 2001.379
ucRRPpvyWtI | ucRRPpvyWtI | 0.4 | sleeve | 1998.841 | 2000.439
z75LsdfSQgg | z75LsdfSQgg | 0.4 | sleeve | 2000.383 | 1998.565
ZQfPvnlWgLA | ZQfPvnlWgLA | 0.4 | sleeve | 2000.314 | 2000.469
az-WhqKxXJQ | az-WhqKxXJQ | 0.4 | sleeve | 2001.105 | 2002.018
QbDDUCHCY1Q | QbDDUCHCY1Q | 0.4 | sleeve | 1999.739 | 1998.331
Rz7r2LqbrO4 | Rz7r2LqbrO4 | 0.4 | sleeve | 1999.434 | 1997.68
vGtsuOD1rY0 | vGtsuOD1rY0 | 0.4 | sleeve | 2001.273 | 1998.088
I4EPLK4h2mk | I4EPLK4h2mk | 0.4 | sleeve | 2000.81 | 2002.044
g4Zy4BDiQtg | g4Zy4BDiQtg | 0.4 | sleeve | 2001.583 | 2002.153
c9MXvqyHb8k | c9MXvqyHb8k | 0.4 | sleeve | 2001.697 | 2002.177
o6xjuKS_3nw | o6xjuKS_3nw | 0.4 | sleeve | 2002.32 | 2002.174
3k7baoXYiGk | 3k7baoXYiGk | 0.4 | sleeve | 2000.779 | 2002.007
pIVCpTKXqsM | pIVCpTKXqsM | 0.4 | sleeve | 2001.046 | 2001.994
FN4LujY_Fyc | FN4LujY_Fyc | 0.4 | sleeve | 1999.745 | 1999.74
Svl5zH-hsOw | Svl5zH-hsOw | 0.4 | sleeve | 1999.231 | 1997.306
j8vQZzQTpFQ | j8vQZzQTpFQ | 0.4 | sleeve | 1998.887 | 2000.913
tgunwX2vt5M | tgunwX2vt5M | 0.4 | sleeve | 2001.418 | 2002.115
WEmmle7wYZU | WEmmle7wYZU | 0.4 | sleeve | 2000.639 | 2001.982
NyfaC0gjp_o | NyfaC0gjp_o | 0.4 | sleeve | 2000.78 | 2001.998
_pSqij-nLzU | _pSqij-nLzU | 0.4 | sleeve | 1998.881 | 2000.894
p8Qz0D6jA2Y | p8Qz0D6jA2Y | 0.4 | sleeve | 1998.58 | 1994.787
bXFQ7osv2mA | bXFQ7osv2mA | 0.4 | sleeve | 1999.867 | 2002.035
j0AuR631BvQ | j0AuR631BvQ | 0.4 | sleeve | 1999.714 | 1998.277
ac4Ng9qTE-A | ac4Ng9qTE-A | 0.4 | sleeve | 1999.762 | 1998.383
hWoOOG25-24 | hWoOOG25-24 | 0.4 | sleeve | 2000.363 | 2000.804
i_D6DaSYOsY | i_D6DaSYOsY | 0.4 | sleeve | 2000.414 | 2001.09
I2CvJqReYP0 | I2CvJqReYP0 | 0.4 | sleeve | 2000.145 | 1998.706
aBOn-zjNMos | aBOn-zjNMos | 0.4 | sleeve | 2002.115 | 1997.033
pg0ssOaKfmg | pg0ssOaKfmg | 0.4 | sleeve | 2000.101 | 1999.561
M9fHOBZrX0o | M9fHOBZrX0o | 0.4 | sleeve | 1998.991 | 1996.386
7dkMEtTdkrc | 7dkMEtTdkrc | 0.4 | sleeve | 2001.89 | 1997.403
TwzUZYFqfS0 | TwzUZYFqfS0 | 0.4 | sleeve | 2001.977 | 2002.193
_Z_X8naRWcU | _Z_X8naRWcU | 0.4 | sleeve | 1998.804 | 1995.654
ZlDHwe933jo | ZlDHwe933jo | 0.4 | sleeve | 1999.348 | 2000.05
qCjYxH_M0I8 | qCjYxH_M0I8 | 0.4 | sleeve | 2002.77 | 2002.064
5G30T6PWo34 | 5G30T6PWo34 | 0.4 | sleeve | 2000.804 | 2002.038
LwQJvJ7Am7g | LwQJvJ7Am7g | 0.4 | sleeve | 1999.718 | 2002.034
Lf8A08tdW6g | Lf8A08tdW6g | 0.4 | sleeve | 2000.406 | 1998.553
whG6-nWHPW0 | whG6-nWHPW0 | 0.4 | sleeve | 2000.813 | 1998.36
ohrq7kyH0OE | ohrq7kyH0OE | 0.4 | sleeve | 2000.416 | 1998.549
0KSP8T1BzPE | 0KSP8T1BzPE | 0.4 | sleeve | 2000.032 | 2002.035
Lf-BW_QbnGE | Lf-BW_QbnGE | 0.4 | sleeve | 2001.684 | 1997.769
ZQ0hSJGd5tY | ZQ0hSJGd5tY | 0.4 | sleeve | 1999.306 | 2000.083
bi4jeOf2h0U | bi4jeOf2h0U | 0.4 | sleeve | 2001.703 | 2002.177
wDjUGNnow7k | wDjUGNnow7k | 0.4 | sleeve | 2001.03 | 1998.245
8RaEM1049DY | 8RaEM1049DY | 0.4 | sleeve | 1999.113 | 2001.65
pOzXgWNhnog | pOzXgWNhnog | 0.4 | sleeve | 1998.686 | 1995.193
5BZJ11o4nwk | 5BZJ11o4nwk | 0.4 | sleeve | 2000.411 | 2001.075
23wGPM438KA | 23wGPM438KA | 0.4 | sleeve | 1998.879 | 2000.886
kA2pINuh1NE | kA2pINuh1NE | 0.4 | sleeve | 1998.997 | 1996.41
AdHsMYa4T3Y | AdHsMYa4T3Y | 0.4 | sleeve | 2000.194 | 2002.01
KJnDQejoPDU | KJnDQejoPDU | 0.4 | sleeve | 1999.723 | 2002.035
eAYl5kBmiGI | eAYl5kBmiGI | 0.4 | sleeve | 2002.745 | 2002.073
ENK42mx4PTI | ENK42mx4PTI | 0.4 | sleeve | 1999.119 | 2000.227
HL8Sm6i5T2s | HL8Sm6i5T2s | 0.4 | sleeve | 1999.049 | 1996.599
hZH_VILJRAM | hZH_VILJRAM | 0.4 | sleeve | 1998.99 | 1996.382
bEzbyUcxxKU | bEzbyUcxxKU | 0.4 | sleeve | 1998.995 | 1996.401
bniEwaLUKA8 | bniEwaLUKA8 | 0.4 | sleeve | 2001.579 | 1997.861
ZLVaApkNADc | ZLVaApkNADc | 0.4 | sleeve | 2000.378 | 2000.905
sDEqmgWutI0 | sDEqmgWutI0 | 0.4 | sleeve | 1999.028 | 2001.39
ItxbtFpsNlg | ItxbtFpsNlg | 0.4 | sleeve | 2000.175 | 2002.019
aWkZwUYm94k | aWkZwUYm94k | 0.4 | sleeve | 2000.536 | 2001.877
Ncu4eBzC09E | Ncu4eBzC09E | 0.4 | sleeve | 2001.735 | 1997.716
T9IVDrIMzn0 | T9IVDrIMzn0 | 0.4 | sleeve | 1999.561 | 1997.953
al--vvI5hoM | al--vvI5hoM | 0.4 | sleeve | 2001.989 | 1997.239
58B9f5NCy40 | 58B9f5NCy40 | 0.4 | sleeve | 1999.026 | 2000.297
dkN3ITUkMJI | dkN3ITUkMJI | 0.4 | sleeve | 2000.542 | 2001.599
h22gmveVxtI | h22gmveVxtI | 0.4 | sleeve | 1999.441 | 1997.697
PTxz_xDuHPU | PTxz_xDuHPU | 0.4 | sleeve | 2001.474 | 1997.944
IfeilJqm7r0 | IfeilJqm7r0 | 0.4 | sleeve | 2001.036 | 1998.241
mxIXBhSGGZM | mxIXBhSGGZM | 0.4 | sleeve | 1999.408 | 2000.001
sXDPs4XbA3c | sXDPs4XbA3c | 0.4 | sleeve | 2002.102 | 1997.055
pTlJMKpiq1M | pTlJMKpiq1M | 0.4 | sleeve | 2000.617 | 1998.45
72HFIt3GsyU | 72HFIt3GsyU | 0.4 | sleeve | 1999.461 | 1999.964
AL66hxO9Cjg | AL66hxO9Cjg | 0.4 | sleeve | 2000.346 | 2001.956
vKZlC5Co_S0 | vKZlC5Co_S0 | 0.4 | sleeve | 2001.204 | 2002.055
jSm9XuggcSI | jSm9XuggcSI | 0.4 | sleeve | 2000.339 | 2000.645
OgUIHq4-LCA | OgUIHq4-LCA | 0.4 | sleeve | 1999.715 | 1999.763
joLnMWiruxw | joLnMWiruxw | 0.4 | sleeve | 1999.128 | 1996.928
HEbvoA7GTzw | HEbvoA7GTzw | 0.4 | sleeve | 1999.901 | 1999.616
QON88KFKk1w | QON88KFKk1w | 0.4 | sleeve | 1999.131 | 1996.942
cQ7wsP12vTg | cQ7wsP12vTg | 0.4 | sleeve | 2000.531 | 2001.548
1vqaJDcCcQE | 1vqaJDcCcQE | 0.4 | sleeve | 2002.56 | 2002.131
NEfZEyiqD6I | NEfZEyiqD6I | 0.4 | sleeve | 2000.171 | 1999.78
l81HU06Wcx0 | l81HU06Wcx0 | 0.4 | sleeve | 1999.657 | 1999.809
yRNJIX6OuzE | yRNJIX6OuzE | 0.4 | sleeve | 2002.696 | 2002.089
UGMtAqS_jyA | UGMtAqS_jyA | 0.4 | sleeve | 1999.02 | 2001.367
Db6VnN-4Olo | Db6VnN-4Olo | 0.4 | sleeve | 2002.511 | 2002.145
LiCKAeJnmw4 | LiCKAeJnmw4 | 0.4 | sleeve | 2001.902 | 2002.189
g3iWywNrNo4 | g3iWywNrNo4 | 0.4 | sleeve | 1999.206 | 2001.836
A6fuODvrHu8 | A6fuODvrHu8 | 0.4 | sleeve | 2000.353 | 2001.952
80C8QKAQLA8 | 80C8QKAQLA8 | 0.4 | sleeve | 2001.367 | 2002.103
sUSj0S2Cy10 | sUSj0S2Cy10 | 0.4 | sleeve | 2000.019 | 1999.066
AMZ7qFS5kMU | AMZ7qFS5kMU | 0.4 | sleeve | 2000.098 | 1999.552
rgdZVfGsWBU | rgdZVfGsWBU | 0.4 | sleeve | 2002.763 | 2002.067
ewr1eubi1cU | ewr1eubi1cU | 0.4 | sleeve | 2000.301 | 2000.386
6ihqK3GkIxA | 6ihqK3GkIxA | 0.4 | sleeve | 2000.303 | 2000.4
Z3fjgWmb3-4 | Z3fjgWmb3-4 | 0.4 | sleeve | 1999.593 | 1998.019
ZYiNwERPLk8 | ZYiNwERPLk8 | 0.4 | sleeve | 2001.807 | 1997.517
wUqipcYfzbQ | wUqipcYfzbQ | 0.4 | sleeve | 2000.342 | 2000.664
nZ2h9ULwkBU | nZ2h9ULwkBU | 0.4 | sleeve | 1999.988 | 2002.037
-JggeDkoB5M | -JggeDkoB5M | 0.4 | sleeve | 1998.717 | 2000.497
0wuqPpSae-c | 0wuqPpSae-c | 0.4 | sleeve | 1999.58 | 1999.867
c0S0OHjlhRY | c0S0OHjlhRY | 0.4 | sleeve | 1999.788 | 1999.706
G1ZEBKZZPjo | G1ZEBKZZPjo | 0.4 | sleeve | 2001.052 | 2001.996
UllmHbv6liI | UllmHbv6liI | 0.4 | sleeve | 2001.822 | 1997.632
2pbhuuK63Z0 | 2pbhuuK63Z0 | 0.4 | sleeve | 2002.577 | 1996.271
UPpVSB7PNl8 | UPpVSB7PNl8 | 0.4 | sleeve | 1999.185 | 1997.137
1YWscZ90X7Y | 1YWscZ90X7Y | 0.4 | sleeve | 1999.269 | 1997.451
6dBcirbG9fo | 6dBcirbG9fo | 0.4 | sleeve | 1998.948 | 1996.216
kKJU614xyPI | kKJU614xyPI | 0.4 | sleeve | 1999.117 | 2001.66
cdxb7TS7UGk | cdxb7TS7UGk | 0.4 | sleeve | 2002.553 | 1996.312
XDzIQmV4b0A | XDzIQmV4b0A | 0.4 | sleeve | 2000.399 | 2001.932
flRgkeju6X8 | flRgkeju6X8 | 0.4 | sleeve | 1999.906 | 1999.613
O71EagpQWlg | O71EagpQWlg | 0.4 | sleeve | 2000.027 | 1998.777
6aDjROR58tE | 6aDjROR58tE | 0.4 | sleeve | 1999.33 | 1997.616
O8grNJlgXgg | O8grNJlgXgg | 0.4 | sleeve | 2002.276 | 1996.769

## Lines
id | from | to | v_nom (kV) | length (km) | r (Ohm/km) | s_nom (MVA)
d3292714-d7fb-458f-93e6-fc1f7702d536 | 4hbFKd_qx7Y | yp2bBVY2l1Q | 0.4 | 0.0819 | 0.02089 | 0.42
4a07380f-50c3-40a2-af14-9641182e1ae0 | M48BssJ9t2U | Fr4UM75SkwA | 0.4 | 0.0333 | 0.007487 | 0.213
4b45c101-0743-43ad-8260-3bac3c1bd2ce | 4UHGIiCPZ0c | Xg9QOTVw4uM | 0.4 | 0.0065 | 0.001461 | 0.213
0e713846-c637-484f-9b3f-c02eb0649b90 | f2IV6FMehvA | L5WCtduloGU | 0.4 | 0.0183 | 0.004107 | 0.213
dec2a14d-b644-43ac-9168-5a2b1787433b | NT55EwnNask | bQjMsB5kkwg | 0.4 | 0.0067 | 0.0015 | 0.213
a7e0d104-50f9-4b02-b914-7584a1402796 | zLf9KyXV3DA | 1OFqwY6o3tQ | 0.4 | 0.0018 | 0.000404 | 0.213
b841d1f6-5ffe-42bc-875f-beb089188bf6 | PdMtkwfGZvw | B1rNTfB3N4E | 0.4 | 0.015 | 0.003382 | 0.213
0ece869a-56e2-4593-bf44-2eeba06a752e | Rp2vX5tEvpo | dxK0XYlerY4 | 0.4 | 0.0076 | 0.00171 | 0.213
b4f18b2f-2d74-4290-9c76-f00ef4fe1127 | SuaeUCqQqB0 | 57LxQhO4zHY | 0.4 | 0.019 | 0.004265 | 0.213
da071d41-85f2-49a1-b0bd-0e2a7ecb47b1 | VFWVYsTXTLc | oTgVNgtIfLE | 0.4 | 0.0167 | 0.003758 | 0.213
fd40f092-c96b-43b0-96ef-145b6f38b28c | AYIM1KkyFD8 | Uu_Aa5jdvXQ | 0.4 | 0.0176 | 0.003955 | 0.213
33ac298c-4215-4051-8e64-d1b0e65c0381 | ft0tzNDPKZ4 | YOoC0Ixfx_Q | 0.4 | 0.0025 | 0.000561 | 0.213
5d13a782-40b8-43a2-99ac-cc4b2cdcfd21 | s2qUnyvIrZ8 | lS3LTC5Vtys | 0.4 | 0.0393 | 0.008835 | 0.213
adf6dfff-77cd-4358-b364-2c6d46b184fa | ucRRPpvyWtI | 4IzVzmLsKk8 | 0.4 | 0.011 | 0.002466 | 0.213
e0dc3fac-65e0-46ff-ba65-90b018723a3e | z75LsdfSQgg | AqGaT8luvTU | 0.4 | 0.0058 | 0.001309 | 0.213
a64edc0d-b097-40fb-bb3a-2fd45552b66c | ZQfPvnlWgLA | ApyJZuuwkys | 0.4 | 0.0062 | 0.001402 | 0.213
c07a83e3-88dd-4c24-a1db-73ffa77a7c28 | az-WhqKxXJQ | 8C2Hm4i32dk | 0.4 | 0.0172 | 0.003862 | 0.213
b08bddfc-7807-4414-844b-5fa89547dd35 | vGtsuOD1rY0 | g2Hf8pQBHyk | 0.4 | 0.0247 | 0.005568 | 0.213
12793761-0a89-481c-8440-433bc734cf2c | CI_IqAGJ6jM | I4EPLK4h2mk | 0.4 | 0.0271 | 0.006103 | 0.213
d30e7848-dc03-481d-8a0c-717dd9c2e015 | g4Zy4BDiQtg | 7CJAOEkuLTs | 0.4 | 0.0165 | 0.003701 | 0.213
430b9303-f948-4810-9b0a-6bcbaa5d72ff | c9MXvqyHb8k | IsPpqJwUS0E | 0.4 | 0.0154 | 0.003476 | 0.213
41b6c2e1-7878-4168-80ea-491e0e05279f | RbB6JQ9kFpI | o6xjuKS_3nw | 0.4 | 0.0204 | 0.0046 | 0.213
1e146f3f-3fcb-4eeb-8f17-25d29cbf6d85 | 4hbFKd_qx7Y | 3k7baoXYiGk | 0.4 | 0.0721 | 0.018386 | 0.42
8bdee7c2-de14-45ab-9596-998c5185e243 | pIVCpTKXqsM | 4-grmuhvlAI | 0.4 | 0.003 | 0.000681 | 0.213
547aa867-61c4-4743-9b72-3967295b7eef | c1YV2RXH7p4 | FN4LujY_Fyc | 0.4 | 0.003 | 0.000671 | 0.213
107ebe60-eae0-4902-80ff-ebc05dbf68fa | Svl5zH-hsOw | P7nzFHhCN3A | 0.4 | 0.0093 | 0.002084 | 0.213
d5dc9324-2cc7-446f-94a4-b14bbd1cd56b | j8vQZzQTpFQ | S7QggeRBKpg | 0.4 | 0.0119 | 0.002672 | 0.213
390bcaff-0ac1-4d58-8055-3b48c49d0bdc | tgunwX2vt5M | I0l-_w8LGNg | 0.4 | 0.0092 | 0.002065 | 0.213
c9951af3-9cdc-4adc-927d-ffe6811fcb7b | wrAgmWPaYF0 | m5kNQp91u00 | 0.4 | 0.027 | 0.00607 | 0.213
d0b1add9-28fa-4bbc-b536-63efe5859afb | 4hbFKd_qx7Y | NyfaC0gjp_o | 0.4 | 0.0823 | 0.018513 | 0.213
119a35af-1a2d-4d5a-89b4-70d5d31885ee | Fm_2A0VAIDk | _pSqij-nLzU | 0.4 | 0.0138 | 0.003096 | 0.213
1942c174-4001-4af2-9720-18aee6099a4f | p8Qz0D6jA2Y | 8LrpoU8PVcM | 0.4 | 0.0144 | 0.003242 | 0.213
dce09152-2748-469c-b130-b4d7acda57e7 | bXFQ7osv2mA | t7Jc7O9hzPo | 0.4 | 0.0128 | 0.002871 | 0.213
0b16123e-0ed7-426b-af8c-031b78412f75 | j0AuR631BvQ | hRsBYpZQ9zA | 0.4 | 0.0139 | 0.003135 | 0.213
34412c87-1ecd-4458-ba32-709eaddd97b7 | hWoOOG25-24 | zV4a_GzZBqw | 0.4 | 0.0026 | 0.00059 | 0.213
90ec2549-8f84-4e0c-a62b-d195b017e84b | i_D6DaSYOsY | rq8PJuQ02iU | 0.4 | 0.009 | 0.002029 | 0.213
88b2d1f2-00df-4ece-9f91-9a6891abab3e | I2CvJqReYP0 | RxCdo7O9-j4 | 0.4 | 0.0072 | 0.001615 | 0.213
e04d7f28-66d4-4621-91f4-ce299e570214 | aBOn-zjNMos | bOLjar4-rdE | 0.4 | 0.0236 | 0.005307 | 0.213
6cdffa33-1e1d-4e66-be38-262420cfc513 | 2b70US5bDTw | uOY2eJrsPzI | 0.4 | 0.0272 | 0.006113 | 0.213
8b24c134-d7a9-4a1e-b2f0-1c62db79345e | pg0ssOaKfmg | QaQ7r72tX_Y | 0.4 | 0.0187 | 0.004199 | 0.213
1b83c3b2-9bd0-4008-9c14-54c73da7ca34 | iOrIZUsoobw | M9fHOBZrX0o | 0.4 | 0.0224 | 0.005044 | 0.213
5412ca69-ba98-4c8c-bdb4-823ea0183f17 | Gd6Tj_hiLdU | PzFlTdsUwV0 | 0.4 | 0.0318 | 0.007147 | 0.213
edd57fd1-528f-42dd-a040-2799afbfd5de | 7dkMEtTdkrc | GDMXBkqA0hc | 0.4 | 0.0273 | 0.006145 | 0.213
ce15e208-1b9a-43b5-840f-c8dc6bafe09a | TwzUZYFqfS0 | BcWMtXLwWNk | 0.4 | 0.0274 | 0.006176 | 0.213
35b53f00-8f36-4280-ba96-a70a75a5e6db | _Z_X8naRWcU | BXLUFTAcLaI | 0.4 | 0.0112 | 0.002519 | 0.213
6c05ad6e-47c8-4b34-ac0b-46ac82404fff | ZlDHwe933jo | HD1_vSaUeu4 | 0.4 | 0.0104 | 0.002345 | 0.213
938e67ca-e34b-4e9a-baa3-96126376fcaa | Zgc_7JmGhrI | LwQJvJ7Am7g | 0.4 | 0.0114 | 0.002559 | 0.213
5a503271-be1e-4fea-9cb3-b3f90d72c607 | Lf8A08tdW6g | 9fPVi-W_UZo | 0.4 | 0.0216 | 0.004858 | 0.213
7adafd85-1084-4ba6-b87b-7d1f3e4a2d9b | whG6-nWHPW0 | -e0O9afkPeY | 0.4 | 0.0197 | 0.004433 | 0.213
e8e1e9fd-7428-4425-81c5-5830c2332a83 | ohrq7kyH0OE | 9pZtnDU9Eto | 0.4 | 0.0202 | 0.004555 | 0.213
fb43a147-7c7c-4a6c-b1de-27739c78a2dd | Db_Rl0JoC2w | cvhxEBc8Cyo | 0.4 | 0.0061 | 0.001363 | 0.213
cc93baee-c6a4-409d-9c8f-54dfeb05bf69 | 0KSP8T1BzPE | EMwxKLwMHUo | 0.4 | 0.0088 | 0.001972 | 0.213
ac2bc5ab-689e-42e4-8c91-583b4beba531 | iOE2ZXTSohc | hRsBYpZQ9zA | 0.4 | 0.0042 | 0.00095 | 0.213
23beca58-c3d4-4aaa-8e9b-aae8cc836b8b | Lf-BW_QbnGE | KZmKi-fJNtI | 0.4 | 0.0239 | 0.005373 | 0.213
e2b01239-1335-4094-90fb-199b08ba322a | ZQ0hSJGd5tY | ZRmUMvDCYRs | 0.4 | 0.0084 | 0.001885 | 0.213
795b37a7-6f9f-4ee2-b37f-db22fb6e2a67 | bi4jeOf2h0U | 9HvNu8NLg9A | 0.4 | 0.0091 | 0.00205 | 0.213
a1e11370-8229-448e-a2bd-05e261acad5c | vSOqPJfs1K0 | fpU3xo56pLY | 0.4 | 0.04 | 0.008998 | 0.213
fb57fd9f-3192-48eb-8544-5ca1b3bea3a6 | wDjUGNnow7k | mUTGYDL70ek | 0.4 | 0.0199 | 0.004476 | 0.213
0cdb3cf2-2224-4f15-9ec6-6d1efaf0087e | 8RaEM1049DY | 1Xe1e0f0rQ8 | 0.4 | 0.0031 | 0.000707 | 0.213
68341fd6-feb4-4917-94a3-b1a3772d4c9c | Uu_Aa5jdvXQ | pOzXgWNhnog | 0.4 | 0.0115 | 0.002596 | 0.213
73153c46-8d52-4fa4-8f11-52296d7cc231 | 5BZJ11o4nwk | OoK8bLm6AxU | 0.4 | 0.0028 | 0.000631 | 0.213
6c04820a-8e49-4092-a35e-ce088bd49cd6 | 23wGPM438KA | ageSN5ZZh1I | 0.4 | 0.0326 | 0.007329 | 0.213
6537dd86-17f8-4338-aa40-cd9468a95783 | kA2pINuh1NE | zeDi97cQ9JQ | 0.4 | 0.0116 | 0.002621 | 0.213
e551453f-c3b1-4a50-8645-80b63e54347e | AdHsMYa4T3Y | aJgqt4i84OY | 0.4 | 0.0029 | 0.00065 | 0.213
25358828-0f36-41bf-86b5-996b3e0bf485 | KJnDQejoPDU | pvgKcjvQSqA | 0.4 | 0.01 | 0.002257 | 0.213
9d207cdc-b2c4-48ec-b526-eb82ba131910 | YySBTja51wA | 74fGfJKIDRA | 0.4 | 0.0172 | 0.003863 | 0.213
54057b8a-ad26-456e-baa3-5f636c9a6b99 | eAYl5kBmiGI | yBZtHxeVgNw | 0.4 | 0.035 | 0.007876 | 0.213
d894ae6e-07a0-4046-b765-e23a505fb8cc | ENK42mx4PTI | dHuOfO5H1lU | 0.4 | 0.0035 | 0.000781 | 0.213
1545198e-0993-458f-b6da-bd0c1d9b9c46 | HL8Sm6i5T2s | jsgOoXY5W-Q | 0.4 | 0.0123 | 0.002764 | 0.213
37245982-48d2-448b-b18b-54aee10009fa | bniEwaLUKA8 | 6xXGsO0xc0E | 0.4 | 0.013 | 0.002932 | 0.213
8fbbab95-3909-4788-b32c-2f4cc3a38e9c | WEmmle7wYZU | 3k7baoXYiGk | 0.4 | 0.0135 | 0.003437 | 0.42
2ec8b0cf-b58c-409b-80cb-18690d8a9652 | ZLVaApkNADc | CtKzPizsojA | 0.4 | 0.0137 | 0.003083 | 0.213
f2f504d5-a966-4ae6-beb0-375051359753 | aH5Qaj60xzI | sDEqmgWutI0 | 0.4 | 0.0134 | 0.003018 | 0.213
d7248c11-7eb2-4bde-beca-899fbc95e738 | ItxbtFpsNlg | 6TgiOGmgyaU | 0.4 | 0.0037 | 0.000837 | 0.213
10c2689a-e3c2-4e34-b461-9d71945b279e | S7QggeRBKpg | TgfcfTcP2Yc | 0.4 | 0.0169 | 0.003794 | 0.213
65c03381-da87-4f34-8e06-92d0babee9e7 | aWkZwUYm94k | Bc-OPVxgbgs | 0.4 | 0.0064 | 0.001447 | 0.213
9595d154-e939-487a-a2c4-9699a82e55ca | Ncu4eBzC09E | 9JF59jUT1ek | 0.4 | 0.0111 | 0.002499 | 0.213
24b5efe6-8d51-4fda-b768-c530db437184 | 6kfx20GRtxU | T9IVDrIMzn0 | 0.4 | 0.058 | 0.013054 | 0.213
b7b74617-3d43-434b-a097-60b71a91a3c9 | 05kOHC6xwUc | uOY2eJrsPzI | 0.4 | 0.011 | 0.002485 | 0.213
e997f32c-abd5-4ebe-ac9b-5b66daeada1d | al--vvI5hoM | LG64hXgv5lg | 0.4 | 0.0235 | 0.00528 | 0.213
3990f798-776a-46e4-9b14-f9ec4ed4356a | 58B9f5NCy40 | NNcEzQUs9do | 0.4 | 0.0133 | 0.002992 | 0.213
6c310914-a199-4087-b52d-fb361319e60e | dkN3ITUkMJI | bNmGSl0nm4A | 0.4 | 0.0122 | 0.002745 | 0.213
c96c074a-42b9-46a9-a9ff-2cacc15f8f99 | h22gmveVxtI | LzK20wUew8o | 0.4 | 0.0161 | 0.003629 | 0.213
8a189aaf-d53d-4b76-b909-0e64fa1830a6 | fkyqKCTpCaY | n6aX9myG5ss | 0.4 | 0.0161 | 0.003615 | 0.213
fba60787-0238-480b-976a-c5eb26a973c4 | PTxz_xDuHPU | YySBTja51wA | 0.4 | 0.0351 | 0.007886 | 0.213
d5a18f86-3f7b-4300-8e63-6fb43ec0da83 | IfeilJqm7r0 | ostMDcHbbdg | 0.4 | 0.0192 | 0.004321 | 0.213
adb37b58-74ec-4a66-8423-b3e677388285 | mxIXBhSGGZM | LRtBqI7PxXQ | 0.4 | 0.0106 | 0.002389 | 0.213
1858738d-a7b8-419a-867b-2d1f92a592e6 | sXDPs4XbA3c | h_v8TggaORY | 0.4 | 0.0272 | 0.006131 | 0.213
40b1bfdb-0389-4e6c-a4a3-88d998ce0bc7 | pTlJMKpiq1M | dBFV2XlYh6I | 0.4 | 0.0159 | 0.003585 | 0.213
f341ee04-a069-48e7-be36-8fb3936b0c14 | 72HFIt3GsyU | k2d20yqjbRs | 0.4 | 0.0521 | 0.011728 | 0.213
0a7bceb2-c3aa-4c33-b9c1-3c8b82050870 | LzK20wUew8o | lf9PAC1Ib5M | 0.4 | 0.0244 | 0.005491 | 0.213
28bf8ea5-f0f5-411c-9453-8a831679a1c9 | bP478EggXHw | AL66hxO9Cjg | 0.4 | 0.004 | 0.000895 | 0.213
0bfbdb50-6be7-4528-bf06-13a17721b433 | vKZlC5Co_S0 | _834p9vcqEA | 0.4 | 0.0033 | 0.000737 | 0.213
e4fc9062-de2b-4adb-9e60-fe1a6b48cd8f | jSm9XuggcSI | EHQDxLar9NE | 0.4 | 0.018 | 0.004042 | 0.213
5c32e6e8-df26-48cc-b293-55c77bf3b62e | OgUIHq4-LCA | zaL3dDRAIZo | 0.4 | 0.0091 | 0.002045 | 0.213
40cd744e-e315-4a41-9dc9-0eb9500e78de | cvhxEBc8Cyo | joLnMWiruxw | 0.4 | 0.0173 | 0.003885 | 0.213
6b3350d3-7502-456c-8a06-4bcc34e0998f | HEbvoA7GTzw | kgL4v7ncwGU | 0.4 | 0.001 | 0.000225 | 0.213
bf93294e-b71b-4b32-9e94-87aa608a4d9b | QON88KFKk1w | APr7EYlq9R4 | 0.4 | 0.0232 | 0.005231 | 0.213
e0f3f150-a281-49d5-965e-b3f02b71badd | cQ7wsP12vTg | 3GRnOI2vpcw | 0.4 | 0.0057 | 0.001283 | 0.213
62d3f2b1-9923-4b1b-965a-198f0ae59897 | FIMITqTYHrU | 1vqaJDcCcQE | 0.4 | 0.0184 | 0.004134 | 0.213
8f9d4971-9cb2-4894-83fc-62f16278d28a | NEfZEyiqD6I | 8JgMQ9KVYA4 | 0.4 | 0.0094 | 0.002119 | 0.213
a7ae77f8-48ab-470c-b97e-b532d97fff32 | l81HU06Wcx0 | kHHAjacyOIE | 0.4 | 0.0023 | 0.000513 | 0.213
e1e29ac5-9e69-4184-85d1-af113689c82d | yRNJIX6OuzE | KZ6Q2VTlgQc | 0.4 | 0.0148 | 0.003337 | 0.213
95e26513-b0f7-4629-8082-141d7072cb68 | UGMtAqS_jyA | pL56mqIiJJA | 0.4 | 0.01 | 0.002251 | 0.213
8637a648-1e65-4f5e-a2cd-e8f48e731b8b | 5E0oF61Oh0o | Db6VnN-4Olo | 0.4 | 0.0133 | 0.002999 | 0.213
91c7a89d-cae2-47fa-b9f7-97f0c24cc466 | LiCKAeJnmw4 | KHTkMTp0tSs | 0.4 | 0.0151 | 0.003393 | 0.213
d87efb19-873a-4318-8314-9f92f137579a | TgfcfTcP2Yc | fkyqKCTpCaY | 0.4 | 0.012 | 0.002697 | 0.213
6d692058-750d-4ff1-8034-e1edb96dc0f4 | g3iWywNrNo4 | RxL-yIKOvFg | 0.4 | 0.011 | 0.002466 | 0.213
5bc0ef50-04e3-42cc-bc22-b5083b1101d2 | sxmB1IXUDDw | A6fuODvrHu8 | 0.4 | 0.0309 | 0.006959 | 0.213
316b44f7-9983-4296-a405-7abbda0155ba | 80C8QKAQLA8 | nwi1y6CBX7U | 0.4 | 0.0182 | 0.00409 | 0.213
da16f945-b23f-4f8b-bff1-f1a4fc108a71 | sUSj0S2Cy10 | -EfGF7lFC3M | 0.4 | 0.0096 | 0.002164 | 0.213
1b9b44d3-e140-4ff3-b4c1-8495b4f8c744 | f2IV6FMehvA | CypxRLvdw1w | 0.4 | 0.0014 | 0.000316 | 0.213
cbeb3ae8-1adb-496e-922a-54003b5e35ae | AMZ7qFS5kMU | czZHnccsfSs | 0.4 | 0.0203 | 0.004562 | 0.213
22f4f692-f620-4705-8bb2-8fe0290608a0 | ZTzdoentrP4 | NyfaC0gjp_o | 0.4 | 0.0977 | 0.021981 | 0.213
3250795c-64ab-4e7f-bb88-7f7ba8289a17 | ewr1eubi1cU | QdnX_AqltVc | 0.4 | 0.0105 | 0.002365 | 0.213
68148597-0b98-4dc8-ad62-93379603da9a | V5_4zssAx3U | 6ihqK3GkIxA | 0.4 | 0.0286 | 0.006426 | 0.213
9683e536-0ddb-4c6a-b164-1ba5f6a96a2a | Z3fjgWmb3-4 | 60AOYJMm748 | 0.4 | 0.02 | 0.004504 | 0.213
fe66c97c-5cdb-4579-8b05-48bf2ccf67ea | kW0KJNzlAdY | sahhq0J42-8 | 0.4 | 0.0176 | 0.003951 | 0.213
a723d006-c6f9-4d97-a078-357f4fe1a801 | f2IV6FMehvA | 8D6n4q1ieyY | 0.4 | 0.0098 | 0.002195 | 0.213
f60687e6-f1df-415d-80c1-62f953bc2014 | ITQLAWFTdpE | rUz0Zbyz5GE | 0.4 | 0.0163 | 0.003667 | 0.213
b1b8fe10-f573-447e-bedd-8ad51ebec9b1 | ZYiNwERPLk8 | bECmxftSScg | 0.4 | 0.0221 | 0.004973 | 0.213
ac946849-099a-4f35-a8b1-2dad37b1e1f5 | ZRmUMvDCYRs | QoRZ_lWXIQU | 0.4 | 0.0116 | 0.002605 | 0.213
84c0cb5a-9210-4319-8185-91d7af540584 | wUqipcYfzbQ | w7fdVqGiL-Q | 0.4 | 0.0024 | 0.00053 | 0.213
fb9de8d0-fea1-4326-b86e-40e2e3343344 | nZ2h9ULwkBU | 7QwtvWWQTis | 0.4 | 0.0047 | 0.001054 | 0.213
6e36c019-3db8-45eb-b5f9-f46f0b3f9a05 | 0wuqPpSae-c | ikytkfz7_uU | 0.4 | 0.0031 | 0.000703 | 0.213
790f49fe-a6c4-4ea9-bc3e-ff3f7f5fe738 | c0S0OHjlhRY | n7oqWcztBNA | 0.4 | 0.0197 | 0.004441 | 0.213
4b9586a5-fce9-4272-af8f-c3385c2f94e3 | -JggeDkoB5M | uOY2eJrsPzI | 0.4 | 0.0126 | 0.003209 | 0.42
3f81cf0a-32a9-4d62-9c05-1ff1efedcab4 | G1ZEBKZZPjo | 9xMMJ6tb87U | 0.4 | 0.0033 | 0.00075 | 0.213
c127e6a3-c7bc-407c-b564-caa0fa3fb6be | UPpVSB7PNl8 | GTxJxT5sKQw | 0.4 | 0.007 | 0.001577 | 0.213
5fabdae1-37f3-4cbf-8786-b00bedd9cb90 | _7vAUPHF0oc | aH5Qaj60xzI | 0.4 | 0.0177 | 0.003979 | 0.213
d2f767ad-5b40-44d3-9867-b08844816836 | rUz0Zbyz5GE | 1YWscZ90X7Y | 0.4 | 0.0068 | 0.001537 | 0.213
9462d3ee-59ef-40f9-b2b7-0cc48d0ac8b9 | 6dBcirbG9fo | Byz6Qw1la1Y | 0.4 | 0.0072 | 0.001628 | 0.213
c1ba4f9e-19fb-4301-9bb6-d477180bfed7 | ymqR3lBly8I | kKJU614xyPI | 0.4 | 0.0095 | 0.002142 | 0.213
302fab25-e926-455f-9906-70ee27f6e1a3 | XDzIQmV4b0A | uWKxC9qi69A | 0.4 | 0.0092 | 0.002061 | 0.213
6cfbefb9-f3b9-40fb-b2ab-3991218936d1 | flRgkeju6X8 | qygDje-mi2g | 0.4 | 0.0106 | 0.002396 | 0.213
c5e483f9-fff0-4aad-b089-a06e4afdb7c6 | O71EagpQWlg | WOGNu6hLA7g | 0.4 | 0.0106 | 0.002375 | 0.213
34d3c11d-e01d-48de-bb22-49691c568fdd | eagV_a5gnRQ | ymqR3lBly8I | 0.4 | 0.0207 | 0.004662 | 0.213
c141b121-e239-4f37-837d-a3072efdc827 | 6aDjROR58tE | ewxN-kXwEts | 0.4 | 0.0204 | 0.004596 | 0.213
e5cfdd56-c1c7-46a5-ad69-3059994f1669 | O8grNJlgXgg | 0uL9K8CvOxQ | 0.4 | 0.0112 | 0.002513 | 0.213
iOZipMpd6R4 | SuaeUCqQqB0 | PdMtkwfGZvw | 0.4 | 0.0006 | 0.000155 | 0.42
KJmu1ZUIiEI | Fr4UM75SkwA | VFWVYsTXTLc | 0.4 | 0.001 | 0.000264 | 0.42
86JMFgM8L6k | -JggeDkoB5M | ucRRPpvyWtI | 0.4 | 0.0146 | 0.003726 | 0.42
3ZyDiQXLMFI | 4hbFKd_qx7Y | I4EPLK4h2mk | 0.4 | 0.0789 | 0.020115 | 0.42
CyTGi7a1vnQ | I4EPLK4h2mk | 5G30T6PWo34 | 0.4 | 0.0007 | 0.000177 | 0.42
9EKTQRykwIU | g4Zy4BDiQtg | NT55EwnNask | 0.4 | 0.0103 | 0.002622 | 0.42
BTdWF1b3BcU | c9MXvqyHb8k | g4Zy4BDiQtg | 0.4 | 0.011 | 0.002794 | 0.42
VrQ64z4S5NQ | pIVCpTKXqsM | 5G30T6PWo34 | 0.4 | 0.0335 | 0.008544 | 0.42
1_9ju9o4yJk | NT55EwnNask | tgunwX2vt5M | 0.4 | 0.0056 | 0.001422 | 0.42
5aZusHPwMB0 | j8vQZzQTpFQ | _pSqij-nLzU | 0.4 | 0.0012 | 0.000311 | 0.42
234TO0Ylom8 | Gd6Tj_hiLdU | p8Qz0D6jA2Y | 0.4 | 0.0167 | 0.00425 | 0.42
_j3L3Of0JLY | 1OFqwY6o3tQ | bXFQ7osv2mA | 0.4 | 0.0138 | 0.003514 | 0.42
lRRImRPTy5U | QbDDUCHCY1Q | j0AuR631BvQ | 0.4 | 0.0039 | 0.000997 | 0.42
PJc6kpXADXU | sahhq0J42-8 | ac4Ng9qTE-A | 0.4 | 0.0358 | 0.009139 | 0.42
DCbgE3LAstA | ac4Ng9qTE-A | QbDDUCHCY1Q | 0.4 | 0.0036 | 0.000918 | 0.42
mCoSbMxPgeo | i_D6DaSYOsY | SuaeUCqQqB0 | 0.4 | 0.0184 | 0.004701 | 0.42
L407B8_xqWg | I2CvJqReYP0 | z75LsdfSQgg | 0.4 | 0.026 | 0.00664 | 0.42
UiFSLkervsU | hZH_VILJRAM | M9fHOBZrX0o | 0.4 | 0.0003 | 6.8e-05 | 0.42
pn_BCQnlmXQ | M9fHOBZrX0o | bEzbyUcxxKU | 0.4 | 0.001 | 0.000246 | 0.42
Hl52ihw_AkI | o6xjuKS_3nw | TwzUZYFqfS0 | 0.4 | 0.0335 | 0.008536 | 0.42
LWny7E9o_9U | _Z_X8naRWcU | Fr4UM75SkwA | 0.4 | 0.0139 | 0.00355 | 0.42
3JNXqL406LY | f2IV6FMehvA | LwQJvJ7Am7g | 0.4 | 0.0391 | 0.009974 | 0.42
Af1CusnrOTM | z75LsdfSQgg | Lf8A08tdW6g | 0.4 | 0.0025 | 0.000629 | 0.42
bBOdQg-Dakk | Lf8A08tdW6g | ohrq7kyH0OE | 0.4 | 0.001 | 0.000257 | 0.42
vCK07LLho8I | ft0tzNDPKZ4 | ZQ0hSJGd5tY | 0.4 | 0.0103 | 0.002632 | 0.42
VscwSteHpHc | ZQ0hSJGd5tY | ZlDHwe933jo | 0.4 | 0.0049 | 0.001242 | 0.42
gIidxHS-NuE | bi4jeOf2h0U | c9MXvqyHb8k | 0.4 | 0.0005 | 0.000134 | 0.42
1_hrZvfSQPs | 0hEUndv9i6I | fpU3xo56pLY | 0.4 | 0.0005 | 0.000108 | 0.213
hT55-D7n1Z0 | fpU3xo56pLY | ac4Ng9qTE-A | 0.4 | 0.0267 | 0.00601 | 0.213
RWlZjdYs4Zs | whG6-nWHPW0 | wDjUGNnow7k | 0.4 | 0.0233 | 0.005931 | 0.42
PwIz6nSeJM0 | p8Qz0D6jA2Y | pOzXgWNhnog | 0.4 | 0.026 | 0.00664 | 0.42
0y-kRN1laPs | pOzXgWNhnog | _Z_X8naRWcU | 0.4 | 0.0295 | 0.007525 | 0.42
jG01PLUvHS8 | 5BZJ11o4nwk | i_D6DaSYOsY | 0.4 | 0.0009 | 0.000239 | 0.42
G8glONdoU6Q | _pSqij-nLzU | 23wGPM438KA | 0.4 | 0.0005 | 0.000137 | 0.42
YnxqYppEsM0 | 23wGPM438KA | uOY2eJrsPzI | 0.4 | 0.0187 | 0.004766 | 0.42
0Ac5DeWlPRo | kA2pINuh1NE | bEzbyUcxxKU | 0.4 | 0.0006 | 0.00015 | 0.42
7Lksx0AFeE4 | LwQJvJ7Am7g | KJnDQejoPDU | 0.4 | 0.0005 | 0.000124 | 0.42
FKRbgTw97oU | KJnDQejoPDU | 1OFqwY6o3tQ | 0.4 | 0.0002 | 4.6e-05 | 0.42
_V8WXpYXHf0 | ENK42mx4PTI | ft0tzNDPKZ4 | 0.4 | 0.0112 | 0.002851 | 0.42
hElqB628Owg | HL8Sm6i5T2s | kA2pINuh1NE | 0.4 | 0.0122 | 0.0031 | 0.42
1TqTLUycbZI | bniEwaLUKA8 | Lf-BW_QbnGE | 0.4 | 0.0125 | 0.003196 | 0.42
r_SbTs9A_xs | hWoOOG25-24 | ZLVaApkNADc | 0.4 | 0.0063 | 0.001617 | 0.42
lIqLEVxzTWI | ZLVaApkNADc | 5BZJ11o4nwk | 0.4 | 0.0107 | 0.002734 | 0.42
UVdQ_hzcZMo | 8RaEM1049DY | sDEqmgWutI0 | 0.4 | 0.0171 | 0.004365 | 0.42
dDF5Y6ZbL8Y | sDEqmgWutI0 | s2qUnyvIrZ8 | 0.4 | 0.0007 | 0.000191 | 0.42
ODbRjlP0EY8 | 0KSP8T1BzPE | ItxbtFpsNlg | 0.4 | 0.0141 | 0.0036 | 0.42
39doJqPlmLY | ItxbtFpsNlg | AdHsMYa4T3Y | 0.4 | 0.0021 | 0.000532 | 0.42
cHoZ801rJdg | 4UHGIiCPZ0c | aWkZwUYm94k | 0.4 | 0.0069 | 0.001758 | 0.42
OnNhk-fy554 | aWkZwUYm94k | WEmmle7wYZU | 0.4 | 0.0143 | 0.003646 | 0.42
QkS8MZMW4cg | Lf-BW_QbnGE | Ncu4eBzC09E | 0.4 | 0.0064 | 0.001624 | 0.42
y1YAtHQaSqY | Ncu4eBzC09E | UllmHbv6liI | 0.4 | 0.0107 | 0.002719 | 0.42
YugLS8vCBB0 | 7dkMEtTdkrc | al--vvI5hoM | 0.4 | 0.0152 | 0.003879 | 0.42
dH9wwbIV9hM | ucRRPpvyWtI | 58B9f5NCy40 | 0.4 | 0.0213 | 0.005435 | 0.42
b1qlAEJNXUI | 58B9f5NCy40 | ENK42mx4PTI | 0.4 | 0.0107 | 0.002719 | 0.42
tdW6Ny__bxs | dkN3ITUkMJI | yp2bBVY2l1Q | 0.4 | 0.0399 | 0.010185 | 0.42
bU47KTmhs_k | T9IVDrIMzn0 | h22gmveVxtI | 0.4 | 0.0184 | 0.004683 | 0.42
L1xNQqLLzyg | h22gmveVxtI | Rz7r2LqbrO4 | 0.4 | 0.0011 | 0.000292 | 0.42
vz9psIYiigc | vGtsuOD1rY0 | PTxz_xDuHPU | 0.4 | 0.0228 | 0.005808 | 0.42
ev-NNGcVLNo | PTxz_xDuHPU | bniEwaLUKA8 | 0.4 | 0.0122 | 0.003103 | 0.42
_vcdXEN6il0 | wDjUGNnow7k | IfeilJqm7r0 | 0.4 | 0.0007 | 0.000174 | 0.42
_f5YhgM5yjE | IfeilJqm7r0 | vGtsuOD1rY0 | 0.4 | 0.0263 | 0.006709 | 0.42
S8_QyRxPBCk | ZlDHwe933jo | mxIXBhSGGZM | 0.4 | 0.007 | 0.001795 | 0.42
GYqPLs9RkxE | al--vvI5hoM | sXDPs4XbA3c | 0.4 | 0.0172 | 0.004376 | 0.42
JqF0JdC6qtg | sXDPs4XbA3c | aBOn-zjNMos | 0.4 | 0.002 | 0.000514 | 0.42
Z1byxrB2Mtw | ohrq7kyH0OE | pTlJMKpiq1M | 0.4 | 0.0214 | 0.005454 | 0.42
B5GaEXpQqp8 | pTlJMKpiq1M | whG6-nWHPW0 | 0.4 | 0.0207 | 0.005285 | 0.42
WSO_xr5orck | mxIXBhSGGZM | 72HFIt3GsyU | 0.4 | 0.006 | 0.001528 | 0.42
KeLIz-eNg8o | AdHsMYa4T3Y | AL66hxO9Cjg | 0.4 | 0.0156 | 0.003973 | 0.42
_7Fk50nrANU | vKZlC5Co_S0 | az-WhqKxXJQ | 0.4 | 0.0095 | 0.002425 | 0.42
p7kwB9OqDoM | ZQfPvnlWgLA | jSm9XuggcSI | 0.4 | 0.0109 | 0.002785 | 0.42
Z5uyZvA6YNg | OgUIHq4-LCA | FN4LujY_Fyc | 0.4 | 0.0034 | 0.000875 | 0.42
yDSUtxaDKK8 | joLnMWiruxw | HL8Sm6i5T2s | 0.4 | 0.021 | 0.005344 | 0.42
0RmJT081Clg | QON88KFKk1w | joLnMWiruxw | 0.4 | 0.0009 | 0.000227 | 0.42
aFCL9uIGNYk | PdMtkwfGZvw | cQ7wsP12vTg | 0.4 | 0.0103 | 0.002625 | 0.42
IKKbioGFOYc | cQ7wsP12vTg | dkN3ITUkMJI | 0.4 | 0.0033 | 0.000841 | 0.42
1elItlv2RmI | pg0ssOaKfmg | NEfZEyiqD6I | 0.4 | 0.0144 | 0.003675 | 0.42
FHIrrt4eaxE | l81HU06Wcx0 | OgUIHq4-LCA | 0.4 | 0.0068 | 0.001745 | 0.42
g1HDtJVneSg | eAYl5kBmiGI | yRNJIX6OuzE | 0.4 | 0.005 | 0.001287 | 0.42
W_wXuPw2X0o | yRNJIX6OuzE | 1vqaJDcCcQE | 0.4 | 0.0138 | 0.003525 | 0.42
krXd1uFTvao | s2qUnyvIrZ8 | UGMtAqS_jyA | 0.4 | 0.0008 | 0.000206 | 0.42
UesOeK7tsWE | UGMtAqS_jyA | j8vQZzQTpFQ | 0.4 | 0.0295 | 0.007518 | 0.42
Nf3tDygsxOw | 1vqaJDcCcQE | Db6VnN-4Olo | 0.4 | 0.005 | 0.001281 | 0.42
xl1FfDJkOCo | Db6VnN-4Olo | o6xjuKS_3nw | 0.4 | 0.019 | 0.004835 | 0.42
Ur98nYUZ4fk | TwzUZYFqfS0 | LiCKAeJnmw4 | 0.4 | 0.0073 | 0.001858 | 0.42
1-KUHc0fOT0 | LiCKAeJnmw4 | bi4jeOf2h0U | 0.4 | 0.0192 | 0.004889 | 0.42
vJZ9-yn-wyw | f2IV6FMehvA | g3iWywNrNo4 | 0.4 | 0.0199 | 0.005078 | 0.42
9EBZoxDs9f8 | AL66hxO9Cjg | A6fuODvrHu8 | 0.4 | 0.0008 | 0.000199 | 0.42
OCqbhu1nelI | tgunwX2vt5M | 80C8QKAQLA8 | 0.4 | 0.0048 | 0.001236 | 0.42
CkmHeBeEkJ0 | 80C8QKAQLA8 | vKZlC5Co_S0 | 0.4 | 0.0156 | 0.003978 | 0.42
Cnl3YAcjj6E | sahhq0J42-8 | sUSj0S2Cy10 | 0.4 | 0.0132 | 0.003369 | 0.42
W2iKV-XmjGQ | sUSj0S2Cy10 | wrAgmWPaYF0 | 0.4 | 0.0391 | 0.009959 | 0.42
3tzDRBCFhFg | wrAgmWPaYF0 | AMZ7qFS5kMU | 0.4 | 0.0095 | 0.002426 | 0.42
YK4TgGkSoLM | AMZ7qFS5kMU | pg0ssOaKfmg | 0.4 | 0.0006 | 0.000154 | 0.42
oi5pLOu9Ujg | qCjYxH_M0I8 | rgdZVfGsWBU | 0.4 | 0.0006 | 0.000165 | 0.42
X6D2NInjvYc | rgdZVfGsWBU | eAYl5kBmiGI | 0.4 | 0.0018 | 0.000467 | 0.42
J7pY9gpl8oM | NEfZEyiqD6I | ewr1eubi1cU | 0.4 | 0.0383 | 0.00977 | 0.42
DXw72wzaZCU | ewr1eubi1cU | 6ihqK3GkIxA | 0.4 | 0.0009 | 0.000227 | 0.42
pIqth5cfQ2Y | 6ihqK3GkIxA | ZQfPvnlWgLA | 0.4 | 0.0043 | 0.001103 | 0.42
746JVxojGdE | j0AuR631BvQ | Z3fjgWmb3-4 | 0.4 | 0.0185 | 0.004708 | 0.42
i5U4GWos8RI | Z3fjgWmb3-4 | T9IVDrIMzn0 | 0.4 | 0.0048 | 0.001217 | 0.42
NovyhVeBqTw | UllmHbv6liI | ZYiNwERPLk8 | 0.4 | 0.0099 | 0.002534 | 0.42
wUvPyeeNpaE | ZYiNwERPLk8 | 7dkMEtTdkrc | 0.4 | 0.0116 | 0.002961 | 0.42
-oXpAASk5Io | jSm9XuggcSI | wUqipcYfzbQ | 0.4 | 0.0012 | 0.000315 | 0.42
1oJkghQacf4 | wUqipcYfzbQ | hWoOOG25-24 | 0.4 | 0.0087 | 0.002228 | 0.42
SFAe2MgHiGo | bXFQ7osv2mA | nZ2h9ULwkBU | 0.4 | 0.0117 | 0.002993 | 0.42
_ZcHFOodB8k | nZ2h9ULwkBU | 0KSP8T1BzPE | 0.4 | 0.0043 | 0.001087 | 0.42
vquM7dKMzRc | 72HFIt3GsyU | 0wuqPpSae-c | 0.4 | 0.0139 | 0.003557 | 0.42
KcV9vhdgDW4 | 0wuqPpSae-c | l81HU06Wcx0 | 0.4 | 0.0088 | 0.002246 | 0.42
L17YCtLL8EQ | FN4LujY_Fyc | c0S0OHjlhRY | 0.4 | 0.005 | 0.001276 | 0.42
Op4udTjWkiM | c0S0OHjlhRY | HEbvoA7GTzw | 0.4 | 0.0131 | 0.003339 | 0.42
suHwwYsEwyc | az-WhqKxXJQ | G1ZEBKZZPjo | 0.4 | 0.0051 | 0.001307 | 0.42
bgDAdxXi5_o | G1ZEBKZZPjo | pIVCpTKXqsM | 0.4 | 0.0006 | 0.000156 | 0.42
MwRvI5tZJfk | Svl5zH-hsOw | UPpVSB7PNl8 | 0.4 | 0.0109 | 0.002773 | 0.42
Z3OaY8v1UQg | UPpVSB7PNl8 | QON88KFKk1w | 0.4 | 0.0126 | 0.003211 | 0.42
5Ycg-YIFLgA | 1YWscZ90X7Y | Svl5zH-hsOw | 0.4 | 0.0093 | 0.002371 | 0.42
7K6XDxauA5M | VFWVYsTXTLc | 6dBcirbG9fo | 0.4 | 0.021 | 0.005364 | 0.42
F2NC3NEXKTc | 6dBcirbG9fo | hZH_VILJRAM | 0.4 | 0.0106 | 0.002703 | 0.42
lCW-_tmslXM | g3iWywNrNo4 | kKJU614xyPI | 0.4 | 0.013 | 0.003306 | 0.42
TMRpu8mxTQE | kKJU614xyPI | 8RaEM1049DY | 0.4 | 0.0007 | 0.000182 | 0.42
RirTPj6yv58 | dxK0XYlerY4 | cdxb7TS7UGk | 0.4 | 0.0262 | 0.006685 | 0.42
BQeaL2wK2wY | cdxb7TS7UGk | 2pbhuuK63Z0 | 0.4 | 0.0038 | 0.000974 | 0.42
yTl_h5VcbgM | A6fuODvrHu8 | XDzIQmV4b0A | 0.4 | 0.0048 | 0.001236 | 0.42
NcO1uKxea8c | XDzIQmV4b0A | 4UHGIiCPZ0c | 0.4 | 0.0078 | 0.001983 | 0.42
7F3cWfK6xdU | HEbvoA7GTzw | flRgkeju6X8 | 0.4 | 0.0006 | 0.000145 | 0.42
l2pCczd6_wE | flRgkeju6X8 | wrAgmWPaYF0 | 0.4 | 0.0145 | 0.003701 | 0.42
__jb7dS8B80 | sahhq0J42-8 | O71EagpQWlg | 0.4 | 0.0084 | 0.002152 | 0.42
EOoEuMUEJE8 | O71EagpQWlg | I2CvJqReYP0 | 0.4 | 0.0129 | 0.003289 | 0.42
1hXTvYhzyhY | Rz7r2LqbrO4 | 6aDjROR58tE | 0.4 | 0.0143 | 0.003651 | 0.42
PaAw0xB-l48 | 6aDjROR58tE | 1YWscZ90X7Y | 0.4 | 0.0111 | 0.002843 | 0.42
ffdqpgfBvxk | aBOn-zjNMos | O8grNJlgXgg | 0.4 | 0.0245 | 0.006252 | 0.42
g8iCcW8n8OM | O8grNJlgXgg | dxK0XYlerY4 | 0.4 | 0.0162 | 0.004126 | 0.42
gEBso4B3OKU | qCjYxH_M0I8 | rgdZVfGsWBU | 0.4 | 0.0006 | 0.000141 | 0.213
r3Zciq1Ezd0 | rgdZVfGsWBU | 3xR9l8Z3zD0 | 0.4 | 0.0179 | 0.003881 | 0.213
g0F3CTvisKo | Q9HzEfCPVb4 | 2pbhuuK63Z0 | 0.4 | 0.0226 | 0.004357 | 0.213
LJYYRhmr564 | 2pbhuuK63Z0 | cdxb7TS7UGk | 0.4 | 0.0038 | 0.000736 | 0.213

## Loads
id | bus | p (MW) | q (MVAr) | profile | pv_kw | sub_grid
2c358758-4dd0-4b53-8c94-14610fffadeb | fpU3xo56pLY | 0.000863 | 0.000173 | H0 | 4 | 2
774e7072-96b6-490e-94eb-61b607572c42 | 6TgiOGmgyaU | 0.000529 | 0.000106 | H0 | 1.1 | 2
2b962473-8a63-436f-9417-1d8c42896adc | ZTzdoentrP4 | 0.000246 | 4.9e-05 | H0 | 18.7 | 2
c4431ee8-9fc9-4be9-855f-451a3615a3e9 | LG64hXgv5lg | 0.000526 | 0.000105 | H0 | 2.8 | 2
58736307-a772-4b50-af61-e9568f98f92a | bECmxftSScg | 0.000215 | 4.3e-05 | H0 | 2.8 | 2
aff3fb5d-22f3-42a9-8e51-91b2287dba42 | bOLjar4-rdE | 0.000845 | 0.000169 | H0 | 2.5 | 2
5c025d86-82ac-4572-b76c-d034caa6e070 | ZRmUMvDCYRs | 0.000198 | 4e-05 | H0 | 0.8 | 2
383419e4-22f0-460a-aacb-c70c71f99fa9 | LRtBqI7PxXQ | 0.000198 | 4e-05 | H0 | 7.4 | 2
b2efd222-e267-4cc8-a17a-17f4410c71dd | pvgKcjvQSqA | 0.000487 | 9.7e-05 | H0 | 6.1 | 2
f6a36161-0148-4805-a31f-09c5be3d766c | t7Jc7O9hzPo | 0.00022 | 4.4e-05 | H0 | 2 | 2
21ad173e-a43d-41ba-ad80-f2f988af09f3 | EMwxKLwMHUo | 0.000402 | 8e-05 | H0 | 1.1 | 2
6e69e4e6-3591-4fe6-8ca0-6445ae1a717f | uWKxC9qi69A | 0.000432 | 8.6e-05 | H0 | 5.1 | 2
9166d1bd-6b1e-4f06-8287-bbd830f751f3 | Xg9QOTVw4uM | 0.00057 | 0.000114 | H0 | 3.4 | 2
9ebdc43e-0301-497c-b617-5b1f75763062 | Bc-OPVxgbgs | 0.000224 | 4.5e-05 | H0 | 1.7 | 2
7d162e0d-a155-48d7-8ae7-87f8d7218260 | CypxRLvdw1w | 0.000264 | 5.3e-05 | H0 | 4 | 2
2adf8520-159d-44c8-8a00-cb470ca98dc6 | zLf9KyXV3DA | 0.000487 | 9.7e-05 | H0 | 8.3 | 2
f9b56fdb-e545-4ef0-b6f8-7f67d7a74a95 | ikytkfz7_uU | 0.000412 | 8.2e-05 | H0 | 6.6 | 2
e4d1129b-ecfd-457f-bfb9-ee489fe9a822 | yBZtHxeVgNw | 0.000487 | 9.7e-05 | H0 | 8.6 | 2
a65b890c-97fc-4e44-b2ee-864187ef5393 | 4-grmuhvlAI | 0.000395 | 7.9e-05 | H0 | 2.4 | 2
20685335-9c77-423d-a907-36511baf2db6 | kW0KJNzlAdY | 0.000346 | 6.9e-05 | H0 | 6.4 | 2
915a7e90-6a47-4ebd-9b23-657a41d7f361 | 4IzVzmLsKk8 | 0.000269 | 5.4e-05 | H0 | 1.1 | 2
aa632af1-9c5c-4035-93a8-ed629d3abf24 | Zgc_7JmGhrI | 0.000487 | 9.7e-05 | H0 | 4.2 | 2
1d46da40-ece1-4125-8bbd-526901e29a86 | RxCdo7O9-j4 | 0.00051 | 0.000102 | H0 | 6.1 | 2
836d7b3b-30e0-46a0-b98c-9825196fe91f | kHHAjacyOIE | 0.000304 | 6.1e-05 | H0 | 6.6 | 2
5ca4d2f4-3559-4a66-b78e-fdbe4127b4df | IsPpqJwUS0E | 0.000492 | 9.8e-05 | H0 | 1.7 | 2
f2da8aab-0569-4ce1-9030-eda5582cbb4c | QdnX_AqltVc | 0.000328 | 6.6e-05 | H0 | 6.4 | 2
4418c19a-d4b9-413e-97e4-780d0fbdeb75 | EHQDxLar9NE | 0.000432 | 8.6e-05 | H0 | 6.1 | 2
11518837-49e0-4e83-8b10-7673ae5970f5 | 3xR9l8Z3zD0 | 0.000437 | 8.7e-05 | H0 | 9.5 | 2
8c6330f2-c827-473b-9753-62e9affa923d | AqGaT8luvTU | 0.000385 | 7.7e-05 | H0 | 12.9 | 2
e9e049ef-b89d-471b-af1c-c87b16386bcf | GTxJxT5sKQw | 0.000374 | 7.5e-05 | H0 | 5.2 | 2
407564e4-7127-4f7c-a940-eea602568521 | 8JgMQ9KVYA4 | 0.00062 | 0.000124 | H0 | 5.9 | 2
564e7279-28d6-4c64-b9ff-1652c6ee41a7 | 8LrpoU8PVcM | 0.00031 | 6.2e-05 | H0 | 2.6 | 2
d489142e-8a46-49ba-92e6-5e5eb0943380 | bNmGSl0nm4A | 0.000384 | 7.7e-05 | H0 | 6.6 | 2
8e847bda-5049-4c37-b3ea-cc6ab8165ecc | S7QggeRBKpg | 0.000355 | 7.1e-05 | H0 | 3.5 | 2
a90cd4ae-0084-4ea8-bef4-abdccca9fe89 | L5WCtduloGU | 0.000116 | 2.3e-05 | H0 | 5.2 | 2
304bef78-c4ec-4ca7-bbec-6e065625519e | Fm_2A0VAIDk | 0.000355 | 7.1e-05 | H0 | 5.1 | 2
506929d7-e30b-4269-8755-608c23f24353 | 3GRnOI2vpcw | 0.000308 | 6.2e-05 | H0 | 2.2 | 2
847d12b8-5e6d-4e74-92ff-65900cc812cc | fkyqKCTpCaY | 5.8e-05 | 1.2e-05 | G0 |  | 2
88387fb2-0d66-4d63-91f5-f00bc753b674 | cvhxEBc8Cyo | 0.000344 | 6.9e-05 | H0 | 5.9 | 2
dfc860c1-113b-4d9d-a64b-8ea211c05bef | Byz6Qw1la1Y | 0.000304 | 6.1e-05 | H0 | 2.2 | 2
7052f054-8a76-4c72-b699-6ef0e7c28ed9 | B1rNTfB3N4E | 0.00032 | 6.4e-05 | H0 | 2.7 | 2
619acd8e-2edb-49d5-89fe-9069f8bcb6f5 | sxmB1IXUDDw | 0.000432 | 8.6e-05 | H0 | 2.2 | 2
c0955ef0-fa48-4733-a36a-e51ceb3a6cc9 | Uu_Aa5jdvXQ | 0.000532 | 0.000106 | H0 | 6.6 | 2
29be9d22-efa7-44cf-96cf-3185a42b348d | BXLUFTAcLaI | 0.000217 | 4.3e-05 | H0 | 5.2 | 2
d33e7903-3b7d-4fa3-817d-c10c63736f93 | TgfcfTcP2Yc | 5.8e-05 | 1.2e-05 | G0 |  | 2
6bc575ee-98dd-4c78-b543-53c314a4e1ef | iOE2ZXTSohc | 0.000618 | 0.000124 | H0 | 0.8 | 2
4c18f80b-7181-4571-9701-0383fabd18c5 | 9fPVi-W_UZo | 0.000234 | 4.7e-05 | H0 | 5.6 | 2
f32f6348-e535-48ae-ad53-deddeb983a48 | KZmKi-fJNtI | 0.000353 | 7.1e-05 | H0 | 6.1 | 2
22ee9a0b-9303-4085-9533-755944b74cf7 | Db_Rl0JoC2w | 0.000344 | 6.9e-05 | H0 | 5.6 | 2
a311edfa-2d3b-4cb1-9692-d7a8a52cf7d6 | jsgOoXY5W-Q | 0.000232 | 4.6e-05 | H0 | 4.7 | 2
3890bd45-f788-41b9-9478-aac4f52fac27 | I0l-_w8LGNg | 0.000258 | 5.2e-05 | H0 | 5.9 | 2
a4336f78-f9f0-4a09-baa6-f510b7384295 | OoK8bLm6AxU | 0.000324 | 6.5e-05 | H0 | 2.7 | 2
1dec7422-6002-4112-b4f7-12d4558f190a | dBFV2XlYh6I | 0.000333 | 6.7e-05 | H0 | 1.3 | 2
931bd312-7e45-4c51-aa43-9431c30bcd8e | 05kOHC6xwUc | 0.000491 | 9.8e-05 | H0 | 0.8 | 2
36d8709e-237b-4beb-aba9-ca2c3c71ec01 | lf9PAC1Ib5M | 0.000278 | 5.6e-05 | H0 | 6.1 | 2
592caca8-6df6-4e10-a2de-404717cde23c | RxL-yIKOvFg | 0.000258 | 5.2e-05 | H0 | 0.8 | 2
60f07200-d67f-4b18-bee3-15b62c5a42e6 | hRsBYpZQ9zA | 0.000618 | 0.000124 | H0 | 0.8 | 2
d55467b1-1b85-4723-b828-165a9fcbf326 | WOGNu6hLA7g | 0.000386 | 7.7e-05 | H0 | 6.9 | 2
9b13340b-0727-4db9-8bd6-ccb07cc4c90f | QaQ7r72tX_Y | 0.000345 | 6.9e-05 | H0 | 7.3 | 2
8d45c11f-0093-46bd-ab39-cf7a36ede460 | lS3LTC5Vtys | 5.8e-05 | 1.2e-05 | G0 |  | 2
4f11c782-8f3e-4feb-8999-f4eaf9e3b061 | AYIM1KkyFD8 | 0.000532 | 0.000106 | H0 | 5.6 | 2
3b049cec-9373-4a3e-8eaa-f80fafc37ad3 | _834p9vcqEA | 0.000409 | 8.2e-05 | H0 | 3.9 | 2
fb80cdc3-167d-48e3-9693-72a0134856d2 | NNcEzQUs9do | 0.000501 | 0.0001 | H0 | 3 | 2
00d626b4-1797-4850-ad07-ef178a45f430 | PzFlTdsUwV0 | 0.00031 | 6.2e-05 | H0 | 2.6 | 2
9ef2b49d-af59-4be1-ba31-9cf2c5776262 | iOrIZUsoobw | 0.000114 | 2.3e-05 | G0 |  | 2
5e488353-9e0d-4dd9-b724-5fbe21df8108 | c1YV2RXH7p4 | 0.000491 | 9.8e-05 | H0 | 1.1 | 2
9ec42266-c16d-4f4d-8cd1-27219d985128 | ApyJZuuwkys | 0.000349 | 7e-05 | H0 | 6.4 | 2
bb9b4b7b-3651-4ab6-81f1-ef51b1aa9eec | CI_IqAGJ6jM | 0.000302 | 6e-05 | H0 | 6.9 | 2
9d8bed4f-8ae9-4ba4-8558-3f86258faeac | 74fGfJKIDRA | 0.000387 | 7.7e-05 | H0 | 5 | 2
a029db7e-d382-40e0-96d1-10fc9e8bb16f | 9HvNu8NLg9A | 0.000884 | 0.000177 | H0 | 8.1 | 2
ca712c17-a53f-4bbc-85d3-6dc24b80ebb3 | aH5Qaj60xzI | 0.000307 | 6.1e-05 | H0 | 5.6 | 2
83769bcd-df6d-4a6b-84cd-b8f3fad7c183 | h_v8TggaORY | 8.4e-05 | 1.7e-05 | H0 | 9.5 | 2
91f01dd6-a282-40b9-bb09-e5eec08ce63c | n7oqWcztBNA | 0.000484 | 9.7e-05 | H0 | 5.6 | 2
529b739e-f73f-4f33-8e37-030fa1bdfe4b | ageSN5ZZh1I | 5.8e-05 | 1.2e-05 | G0 |  | 2
dff2809b-0941-450a-a488-6d262fff65c4 | APr7EYlq9R4 | 0.000173 | 3.5e-05 | H0 | 7.4 | 2
8900b54d-e2c9-4cd5-841a-86272ee691b5 | rq8PJuQ02iU | 0.000193 | 3.9e-05 | H0 | 5.1 | 2
f9d9ab88-948a-4e34-abfd-394c0071f8ec | KHTkMTp0tSs | 0.000202 | 4e-05 | H0 | 6.6 | 2
f4de993c-5cf1-4ce9-9abe-e91ebdc34199 | pL56mqIiJJA | 0.000307 | 6.1e-05 | H0 | 2.9 | 2
960ce149-0a82-4aed-8c3e-20ec77ada6ec | kgL4v7ncwGU | 0.000491 | 9.8e-05 | H0 | 4.4 | 2
8102bbb7-04ea-4730-a4ae-a0c758a0c7ca | zaL3dDRAIZo | 0.000491 | 9.8e-05 | H0 | 12.9 | 2
dc153020-2d8a-4b9c-8bb3-21866f875d04 | bQjMsB5kkwg | 0.000309 | 6.2e-05 | H0 | 1.1 | 2
c08d0d2f-45c7-4ab4-b990-50f9564eb569 | Rp2vX5tEvpo | 0.000607 | 0.000121 | H0 | 5.6 | 2
435bf272-0c1f-49d6-b5f9-89438ca12fa4 | GDMXBkqA0hc | 0.000544 | 0.000109 | H0 | 24.3 | 2
2a9b2739-1a89-4acb-9bc6-2068ff649472 | zeDi97cQ9JQ | 0.000377 | 7.5e-05 | H0 | 6.1 | 2
f8cdb4ad-917c-41ed-bcd1-c362cd48938b | g2Hf8pQBHyk | 0.00029 | 5.8e-05 | H0 | 3.5 | 2
ec3a80e1-ecfb-493b-8309-546ebc75457e | V5_4zssAx3U | 0.000692 | 0.000138 | H0 | 1.3 | 2
0e08b96f-37bd-499d-abe4-50efba09ada4 | Q9HzEfCPVb4 | 0.000285 | 5.7e-05 | H0 | 6.6 | 2
f45486d4-4800-46e7-aba7-6c6ab41b5732 | vSOqPJfs1K0 | 0.000278 | 5.6e-05 | H0 | 7.3 | 2
81513c7b-94b5-467b-986d-80eaf80f2a15 | M48BssJ9t2U | 0.000811 | 0.000162 | H0 | 9.5 | 2
a27ab9d2-39f6-41fe-b8ce-61042ff04692 | nwi1y6CBX7U | 0.00029 | 5.8e-05 | H0 | 2.2 | 2
e691fd69-33f8-48b8-b4ea-5f51e2aa1e86 | bP478EggXHw | 0.000275 | 5.5e-05 | H0 | 3.9 | 2
73bd38d5-548c-4548-8a6f-845838f73682 | n6aX9myG5ss | 0.000307 | 6.1e-05 | H0 | 2.9 | 2
0c22de81-2068-4e43-9098-85dfd6c65f9e | YySBTja51wA | 0.000387 | 7.7e-05 | H0 | 5 | 2
cccd0cee-0caf-4447-952c-3671e123aadd | 2b70US5bDTw | 3e-06 | 1e-06 | H0 | 6.4 | 2
19195a34-c0a3-4a2d-855c-3a6eaa791739 | eagV_a5gnRQ | 0.000703 | 0.000141 | H0 | 1.3 | 2
27a4e8cb-6676-44d7-821b-4b058288466c | 1Xe1e0f0rQ8 | 0.000213 | 4.3e-05 | H0 | 6.1 | 2
e1317307-be14-4636-8dee-0cd050727b3d | 8C2Hm4i32dk | 0.000255 | 5.1e-05 | H0 | 4.4 | 2
9f2539a9-3b81-4e80-bc79-f49388cedafa | oTgVNgtIfLE | 0.000304 | 6.1e-05 | H0 | 4.2 | 2
90d9e10a-de26-4fc4-bb5f-8f68686597f6 | YOoC0Ixfx_Q | 0.000362 | 7.2e-05 | H0 | 2.2 | 2
a85e5a1b-8513-4b1e-becd-749dae4cf828 | aJgqt4i84OY | 0.000529 | 0.000106 | H0 | 1.1 | 2
13cc4bd8-3b93-463c-9fb8-17a1b0461255 | 5E0oF61Oh0o | 0.00065 | 0.00013 | H0 | 9.8 | 2
9404c262-ba3f-40b7-90fd-7667c538f0c1 | 6xXGsO0xc0E | 0.000387 | 7.7e-05 | H0 | 7.3 | 2
5f1fc953-77ec-4adc-a73e-2657c2ee5da0 | ymqR3lBly8I | 0.000258 | 5.2e-05 | H0 | 1.3 | 2
469f8270-5bbd-4721-812f-639c49636adc | 57LxQhO4zHY | 0.000214 | 4.3e-05 | H0 | 6.4 | 2
3c364916-fb15-47bc-a0e4-0450e783f226 | 9JF59jUT1ek | 0.000215 | 4.3e-05 | H0 | 11.7 | 2
32de0078-2ca3-4a09-945d-22c82aa831b3 | RbB6JQ9kFpI | 0.000601 | 0.00012 | H0 | 6.6 | 2
5bfcf9b9-efe5-42e0-825e-e22f13a55519 | 7QwtvWWQTis | 0.000402 | 8e-05 | H0 | 5.1 | 2
4e2f7d10-c338-4d97-97e9-cd47dc6fbbf4 | FIMITqTYHrU | 0.000225 | 4.5e-05 | H0 | 4.4 | 2
93c30020-7aad-4957-a00d-2418abfffc25 | 7CJAOEkuLTs | 0.00039 | 7.8e-05 | H0 | 5.2 | 2
394e8109-8617-48a6-a56c-ae01e7ed31a8 | CtKzPizsojA | 0.000482 | 9.6e-05 | H0 | 3.9 | 2
748c04f6-b417-4e10-815a-704986b8bf38 | mUTGYDL70ek | 0.000564 | 0.000113 | H0 | 4.7 | 2
67835344-c26d-44f2-9faf-8c38de7c4487 | 9pZtnDU9Eto | 0.000225 | 4.5e-05 | H0 | 6.4 | 2
2898c212-68f0-4be3-abc2-8977092d37a1 | ostMDcHbbdg | 0.000172 | 3.4e-05 | H0 | 4.2 | 2
8c2f0bf5-203f-47f4-a696-2eaa72a12b60 | 0uL9K8CvOxQ | 0.00042 | 8.4e-05 | H0 | 6.9 | 2
f1327e82-e5b6-46d9-924e-491b2e4b2ce2 | 60AOYJMm748 | 0.000245 | 4.9e-05 | H0 | 8.1 | 2
1b94e542-11d8-408d-b080-d777d2242b66 | HD1_vSaUeu4 | 0.000468 | 9.4e-05 | H0 | 3.9 | 2
1f4d228b-dab5-4b4f-b92f-46ba00a65f75 | 9xMMJ6tb87U | 0.000395 | 7.9e-05 | H0 | 2.4 | 2
f26402f0-e9f3-469d-867d-95df12c216b7 | m5kNQp91u00 | 0.000368 | 7.4e-05 | H0 | 9 | 2
50d8dc27-573e-4815-900d-83cbeb5e4218 | rUz0Zbyz5GE | 0.000736 | 0.000147 | H0 | 8.6 | 2
7249d63f-9be4-4c46-b831-2b88eea74cf0 | 0hEUndv9i6I | 0.000863 | 0.000173 | H0 | 4 | 2
d4eefb78-1621-4ad5-a335-166a76f63294 | czZHnccsfSs | 5.7e-05 | 1.1e-05 | H0 | 8.1 | 2
fd5a0af6-ee5f-4766-9ac1-0540fa7dab7b | qygDje-mi2g | 0.000484 | 9.7e-05 | H0 | 7.3 | 2
86cd05a9-6aa6-4fb9-b04c-00b9a678b368 | zV4a_GzZBqw | 7.3e-05 | 1.5e-05 | H0 | 3.5 | 2
d1cc22a4-554c-4076-9966-bacb28d03bda | BcWMtXLwWNk | 0.000205 | 4.1e-05 | H0 | 5.1 | 2
c7838692-11e6-4e42-905f-aa0d46fdd1e2 | ITQLAWFTdpE | 0.000416 | 8.3e-05 | H0 | 4.5 | 2
b3f3f983-0670-430c-a6f1-f4d454bb2c91 | ewxN-kXwEts | 0.000551 | 0.00011 | H0 | 4.7 | 2
d23f87ad-0fe1-4e9a-b6c3-677ea236d917 | k2d20yqjbRs | 0.000484 | 9.7e-05 | H0 | 3 | 2
dcfa2d47-59fa-419e-9312-548173b75158 | KZ6Q2VTlgQc | 0.000225 | 4.5e-05 | H0 | 6.4 | 2
54a8cf77-dd2e-4d96-a231-4e4df30cf485 | 8D6n4q1ieyY | 0.000264 | 5.3e-05 | H0 | 4 | 2
5d0e034d-702e-46d7-b135-87b9a18a440e | dHuOfO5H1lU | 0.000902 | 0.00018 | H0 | 7.3 | 2
dba6978c-2294-4c06-a62c-20887f38ff69 | QoRZ_lWXIQU | 0.000362 | 7.2e-05 | H0 | 3.5 | 2
44e4ecdf-7e1e-4d17-96db-64284b3cecc7 | _7vAUPHF0oc | 0.000213 | 4.3e-05 | H0 | 6.1 | 2
1ce5b5e8-aac3-470d-ad1a-435b93b3bdeb | P7nzFHhCN3A | 0.000275 | 5.5e-05 | H0 | 5.2 | 2
5a0a6184-8df6-4746-baba-bd407b71328e | 6kfx20GRtxU | 0.000258 | 5.2e-05 | H0 | 5.2 | 2
d7090ab1-1c18-42a8-86a3-496e0ce53a12 | w7fdVqGiL-Q | 0.000599 | 0.00012 | H0 | 3.9 | 2
4c810c88-9a2c-4f15-8287-73f69dbb0714 | LzK20wUew8o | 0.000351 | 7e-05 | H0 | 4.5 | 2

## Transformers
id | hv_bus | lv_bus | v0 (kV) | v1 (kV) | r | g | b | s_nom (MVA)
niBe-de5qYM | 4hbFKd_qx7Y |  | 0.4 | 10 | 2.891 | 0 | 0 | 0.315